# RAPHAEL CONTRACTING LTD

# ADDENDUM ORDER

# Ref: RC/ WC01/JMS

DATE: 03-03-09

cc Head Office

Dear Sirs,

Re: No 1 TUDOR ST

Please find attached the information as listed below.

You are instructed to vary your work as appropriate in order to incorporate these details.

Would you please advise us within 7 days of any cost implications.

Yours faithfully,

P HAUGH

For and on behalf of

Raphael Contracting Limited

Subject/Location:-  SUPPLY 1HR RATED PAINT GRADE DOORSETS

Instruction/Enclosures:-  9NO DOORS = 926mm x 2040mm c/w 7mm UNDERCUT IHR DOOR SETS, FRAME DEPTH = 180mm, ARCHITRAVES = 60mm x 15mm square edge paint grade. REQUIRED ASAP PLEASE CONFIRM EARLIEST DELIVERY DATE.