NB75065 Shutter Doors and Vehicle Access Barriers Scope of Work

New Shutters incorperated into existing Shutters installations

-Modify 2no. existing shutters (Bolton Gate Co) to East and West Ramps at B1 level, to allow for the incorperation of 2no. new (Envirodoor) speed shutters (Roller Security/ Fire Shutter Type DRR-10 Twin Skin 'speed' Shutter - Wet Areas) to the existing shutter installation. As per construction drawings WE-320-163 rev H,  162 rev J, 232.

-Modify 1no existing shutter (Bolton Gate Co) to the East Workshop at B2 level to allow for the incorperation of 1no new (Envirodoor) shutter to the existing shutter installation. As per  construction drawings WE-320-161 rev J & WE-320-236.

New Shutters

-Supply and install 1no. new (Bolton Gate Co) shutter door (Roller Security / Fire Shutter Type DRR-08 Non Fire Rated Security Shutter) to the Tyre Fit Bay at B2 level, as per construction drawings  WE-320-161 rev J & WE-320-235.

- Supply and install 1no. new (Bolton Gate Co) shutter door (Roller Security / Fire Shutter Type DRR-08a Fire Rated Security Shutter) to the Refuse store at B2 level, as per construction drawings WE-320-161 rev J & WE-320-235.

- Supply and install 2no. new (Envirodoor) shutter doors (Roller Security/ Fire Shutter Type DRR-10 Twin Skin 'speed' Shutter  Wet Areas) to the Wet Bay areas at B1 and B2 levels as per construction drawings WE-320-162 rev J, 161rev J & 163 rev H  & WE-320-232.

-Supply and install 1no. new (Envirodoor) shutter door ( Roller Security / Fire Shutter Type DRR  -09 Single skin 'speed' Shutter) to the Tyre Bay at B1 level as per construction drawings WE-320-161 rev J & WE-320-235.

-Supply and install 3no. new (Envirodoor) shutter doors (Roller Security/ Fire Shutter Type DRR-10a Twin Skin 'speed' Shutter) to Car Park at B1 level (2no.) and (1no) the Dry Bay at B2 level as construction drawings WE-320-162 rev J, 163 rev H & 161 rev J & WE-320-234A.

PVC strip curtains

-Supply and install 4no new (PVC curtain Ltd AKA  W.C.Munsch & Co Limited) PVC strip curtains (Roller Security / Fire Shutter Type DRR-07 Plastic Curtain)

to Smart Repair Bays 1-4 as per construction drawing WE-320-162 rev J, WE-320-163 rev H & WE-320-236.

Vehicle Access Barriers

Supply and install 2no. new (VSS Systems) Vehicle Access Barriers ( Vehicle Barrier Type DRR-05  Vehicle Lifting Barrier )

to the top of the East (1no.) and West (1no.) Ramps at Ground level as per construction drawing WE-320-237.