# ADDENDUM ORDER

# Ref: RC/SIF 016									DATE:  15/09/08

cc Head Office

Dear Sirs,

Re: 20 Gracechurch Street

Please find attached the information as listed below.

You are instructed to vary your work as appropriate in order to incorporate these details.

Would you please advise us within 7 days of any cost implications?

Yours faithfully,

Jason Wray

For and on behalf of

Raphael Contracting Limited

Subject/Location:- Disabled lobby ceilings staircase 2, levels 1 to 6

Instruction/Enclosures: - To supply and fit plasterboard ceilings and SAS ceiling tiles to the 1st to 6th floor disabled / stair 2 lobby as per ORMS drawing no 1395 RC 07 rev G.

The Ceiling tiles to be the same as used in the disabled toilets.

Service holes required are 2no @ 140mm , 1no @ 200mm , 1no @ 66mm , 1no @ 65mm and 1no @ 63mm.

All as per HBG instruction MWP38/Raph057 (attached)