# ADDENDUM ORDER

# Ref: RC/SIF 017									DATE:  17/02/09

cc Head Office

Dear Sirs,

Re: 20 Gracechurch Street

Please find attached the information as listed below.

You are instructed to vary your work as appropriate in order to incorporate these details.

Would you please advise us within 7 days of any cost implications?

Yours faithfully,

Jason Wray

For and on behalf of

Raphael Contracting Limited

Subject/Location:- Supply of missing panels and ceiling tiles

Instruction/Enclosures: - To supply only and deliver to site the following :

- 15 no spare ceiling tiles for the disabled stair 2 lobby ceilings                             (SI 18/RAPH/155 )

- 1 no prefinished 450mm x 450mm access panel for the toilet ceiling.                  (SI 18/RAPH/156

- 1 no prefinished 300mm x 300mm access panel for under the vanity unit.           (SI 18/RAPH/156)

- The following size ceiling tiles damaged by EMCOR

6 no @ 1.0m x 500mm

8 no @ 1.0m x 400mm

4 no @ 960mm x 300mm (planking tile cut to length on site )

3 no @ 755mm x 300mm (planking tiles cut to length on site)

(SI 18/RAPH/157)

All as previously supplied by yourselves