# ADDENDUM ORDER

# Order Ref: RC/BISH01/man02

Brian Sumner

Manor Doors                         				         DATE:15/09/09

cc Head Office

Dear Sirs,

Re: Bisham Abbey Sports Centre, Marlow Rd, SL7 1RR

Please find attached the information as listed below.

You are instructed to vary your work as appropriate in order to incorporate these details.

Would you please advise us within 7 days of any cost implications.

Yours faithfully,

Mick O’Regan

For and on behalf of

Raphael Contracting Limited

Subject/Location:-

Instruction/Enclosures:-

Supply only 4no door leaves finished in lacquered steamed beech with concealed lippings to 2 long edges, non fire, no VP.

4no leaves 2040mm x 427mm, 3no of the leaves to have 10x4 groove down 1 long edge and 1no leaf to have 10x4 groove down 2 long edges for brush seal for privacy. Please also supply intumescent with brush to suit.

Delivery to be end w/c 21/09/09.