# RAPHAEL CONTRACTING LTD

# ADDENDUM ORDER

# Ref: RC/ EXC01/JMS/02

DATE: 22.04.10

cc Head Office

Dear Sirs,

Re: Excel Phase 2

Please find attached the information as listed below.

You are instructed to vary your work as appropriate in order to incorporate these details.

Would you please advise us within 7 days of any cost implications.

Yours faithfully,

P HAUGH

For and on behalf of

Raphael Contracting Limited

Subject/Location:- MDF FIRE RATED WALL

Instruction/Enclosures:- PLEASE SUPPLY 15mm FIRE RATED SPRAYED 9010 MDF PANELS AND ASSOCIATED TIMBER SECTIONS ALL AS ATTACHED SRM INSTRUCTION 007. MATERIALS AND DIMENSIONS AS FOLLOWS

Storage Area – 6no Panels 850mm x 2305mm x 15mm (8no hook on clips&screws each).

( s/o opening 5170mm x 2355mm) allowance for 30mm head & 20mm bottom gaps).

Kitchen Area – 7no Panels 888mm x 2280mm x 15mm (8no hook on clips&screws each).

( s/o opening 6300mm x 2330mm) allowance for 30mm head & 20mm bottom gaps)

Timber           - 17no x 50mm x 75mm x 2400 ( spayed same as panels)

17no x 50mm x 75mm x 3600 ( spayed same as panels)