SIF

# ADDENDUM ORDER

# Ref: GLOUCESTER/ SIF 30                                                                      						Date:  29/ 1 /09

# cc: Head Office

Dear Sirs,

Re: GLOUCESTER QUAYS

Please find attached the information as listed below.

You are instructed to vary your work as appropriate in order to incorporate these details.

Would you please advise us within 7 days of any cost implications.

Yours faithfully,

MARK ROBINSON

For and on behalf of

Raphael Contracting Limited

Subject/Location Instruction/Enclosures

PLEASE SET THE HEAD HEIGHTS 50mm HIGHER ON THE FOLLOWING DOOR SETS IN THE MANAGEMENT SUITE ; - 042, 042a, 044, 045, 046a, b & c, 047, 048, 048a, 051,052, 130 & 131. DUE TO NEW CORRIDOR FLOOR.