N15	FIRE AND SAFETY SIGNAGE SYSTEMS

To be read with Preliminaries/ General conditions.

GENERAL

N15/110	FIRE SIGNAGE SYSTEMS FOR ESCAPE ROUTES

-	System manufacturer: Contractor’s choice.

-	Product reference: Submit proposals .

-	Layout and dimensions: Submit proposals .

-	Language: English

-	Sign type: Adhesive vinyl.

-	Supports/ Fixings: Self adhesive .

PRODUCTS

N15/305	SIGNAGE PRODUCTS GENERALLY

-	Standard: To BS 559.

-	Colorimetric and photometric properties: To BS 5378-2.

N15/310	ADHESIVE VINYL SHEET

-	Manufacturer: Contractor’s choice.

-	Product reference: Submit proposals .

EXECUTION

N15/610	FIXING SIGNS GENERALLY

-	Installation: To BS 559.

-	Secure, plumb and level.

-	Fasteners and adhesives: As section Z20.

-	Strength of fasteners: Sufficient to support live and dead loads.

-	Fasteners for external signs: Corrosion resistant material or with a corrosion resistant finish. Isolate dissimilar metals to avoid electrolytic corrosion.

-	Fixings showing on surface of sign: Must not detract from the message being displayed.

COMPLETION

N15/910	DOCUMENTATION

-	Submit:

-	Manufacturer’s maintenance instructions.

-	Guarantees, warranties, test certificates, record schedules and logbooks.