N14	GENERAL SIGNAGE SYSTEMS

To be read with Preliminaries/ General conditions.

GENERAL

N14/130	EXTERNAL SIGNAGE SYSTEM ABOVE ENTRANCE DOORS

-	System manufacturer: Contractor’s choice .

-	Product reference: Submit proposals .

-	Layout and dimensions: See drawings .

-	Lettering:

-	Font: Arial .

-	Colour: To be agreed .

-	Size: approx 200mm high .

-	Sign type: Fabricated letters .

-	Manufacturing process: Manufacturer’s standard .

-	Supports/ Fixings: Secret fixings .

PRODUCTS

N14/305	PRODUCTS GENERALLY

-	Standard: To BS 559.

N14/320	ALUMINIUM LETTERS

-	Manufacturer: Contractor’s choice .

-	Product reference: Submit proposals .

-	Component thickness: Submit proposals .

-	Finish: Polyester powder coated .

EXECUTION

N14/610	FIXING SIGNS GENERALLY

-	Installation: To BS 559.

-	Secure, plumb and level.

-	Strength of fasteners: Sufficient to support all live and dead loads.

-	Fasteners and or adhesives: As section Z20.

-	Fasteners for external signs: Corrosion resistant material or with a corrosion resistant finish. Isolate dissimilar metals to avoid electrolytic corrosion.

-	Fixings showing on surface of sign: Must not detract from the message being displayed.

COMPLETION

N14/910	DOCUMENTATION

-	Submit:

-	Manufacturer’s maintenance instructions.

-	Guarantees, warranties, test certificates, record schedules and log books.