# ADDENDUM ORDER

# Ref: RC/JMS 42

DATE:  24/11/09

cc Head Office

Dear Sirs,

Re: NORTH HOUSE

Please find attached the information as listed below.

You are instructed to vary your work as appropriate in order to incorporate these details.

Would you please advise us within 7 days of any cost implications?

Yours faithfully,

Jason Wray

For and on behalf of

Raphael Contracting Limited

Subject/Location:-   Two number additional door frames

Instruction/Enclosures:

Please supply two number additional factory finished doorframes to the 2nd & 3rd floors off stair 2, as per attached sketches IRAL-SK-1700 & IRAL-SK-1979.

2nd floor frame over-all dims : Height = 2590mm , Width = 1960mm & Depth = TBC

3rd floor frame over-all dims : Height = 2605mm ,Width = 1905mm &  Depth =  260mm

All fixing points to line up with door sets D-206-1 & D306-1.

Sent via e-mail on 24/11/09