# ADDENDUM ORDER

# Ref: RC/JMS 026

DATE: 11/06/09

cc Head Office

Dear Sirs,

Re: WEBB HOUSE

Please find attached the information as listed below.

You are instructed to vary your work as appropriate in order to incorporate these details.

Would you please advise us within 7 days of any cost implications.

Yours faithfully,

Dave Sanders

For and on behalf of

Raphael Contracting Limited

Subject/Location: - Ground floor  door sets

Instruction/Enclosures:-

Please supply doors and frames DG 001 and DG 002 all as faxed drawings

DG001 double doors leaf sizes 628 x 2010 x 44 none FR (external doors)

With bonded aluminium plates 3mm thick RAL 9006 P/Coated

DG002 SINGLE DOOR PLUS FRAME 1 HR/ FR

Leaf size 736 x 2010 x 54 all primed