REQUEST FOR INFORMATION

BAM CONSTRUCTION					REQUEST NO:  015

WEBB HOUSE                                     			DATE:	  28/01/09

BLOCK/PACKAGE

LOCATION                  SKIRTING TO OFFICE BLOCK

SUBJECT/

DESCRIPTION – SKIRTING

QUERY:

Drawings issued today (33)12 to14 shows the skirting as being 22 x 80

But drawing (33) 15 A shows the skirting as being 15 X 80

Note the architraves have been manufactured 19 mm all as the door frame drawings

Please advise which thickness skirting is required

RESPONSE REQUIRED BY: week ending 30/01/09

SIGNED

On behalf of RCL:  D Sanders

REPLY

MDF/Harwood skirting to be 15mmx80mm as drawing (33)15

SIGNED on behalf of BAM -Bipin Prajapati.  DATE-29 Jan.09 ________________________________________________________________________

BAM – SITE / RCL – SITE / RCL - HEADOFFICE

DISTRIBUTION

________________________________________________________________________