# ADDENDUM ORDER

# Ref: RCL/ JMS 001

DATE:10/11/08

cc Head Office

Dear Sirs,

Re: WHITTINGTON AVE

Please find attached the information as listed below.

You are instructed to vary your work as appropriate in order to incorporate these details.

Would you please advise us within 7 days of any cost implications.

Yours faithfully,

D Sanders

For and on behalf of

Raphael Contracting Limited

Subject/Location:- 1-7 Whittington Ave ALL FLOORS

Instruction/Enclosures:- Please supply the following joinery items

1/ 40 Lengths 12 mm MDF 150mm high X 2400 long (lift lobby skirting)

2/ 40 Lengths 150mm S/Steel Formica  X 2400 long  (lift lobby skirting)

3/ 40 Lengths Maple lipping for lift lobby skirting   (as drawing faxed 07/11/08)

4/ Supply Beech door and frame ½ hr FR O/A size 830 X2240 plus arch’s and stops

5/Supply Beech architraves 10@42 x 32 x2200   5@ 42 x 32 x1050 3@ 62 x 42 x2200

6/ Supply 50 mtrs Maple skirting as approved sample plus 120 ½ Maple pellets

7/ Supply S/Wood primed doorframes to suit the following S/O

910 x 2100 x frame section105 x 32 PLUS architraves and stops

770 x 2070 x frame section112 x 32        DITTO

900 x 2070 x frame section112 x32         DITTO