## Shell and Core Stage 4 Update
SHELL AND CORE
| Description | Quantity | Unit | Rate | Total | Element Total | Notes
|  |  |  | £ | £ | £
1 | Packages Procured
| Deconstruct Demolition and Frame | 1 | item |  |  |  |  | Demolition & Alterations
2 | Remaining Demolition and Frame Items and Stage 4 Changes | [6 empty] | Demolition & Alterations
| Demolition and Alterations Items: | [6 empty] | Demolition & Alterations
| Forming opening in slab to allow for new retail staircases | 4 | nr |  |  |  | To 4nr units | Demolition & Alterations
| Forming opening for hotel feature staircase, assume L01 slab saw cut and broken out | 1 | item |  |  |  |  | Demolition & Alterations
| Forming opening for kitchen staircase, assume GF slab saw cut and broken out | 1 | item |  |  |  |  | Demolition & Alterations
| Remove precast concrete planks on 7th floor | 36.7163 | m2 |  |  |  |  | Demolition & Alterations
| Breaking out existing courtyard finishes in Dover Yard | 395 | m2 |  |  |  |  | Demolition & Alterations
| Demolition and saw cutting of GF slab to facilitate works required to form tree pit | 54.12 | m2 |  |  |  |  | Demolition & Alterations
| Removal of column 1 discovered on GL 14, as per HTS Sketch SK170 | 1 | item |  |  |  |  | Demolition & Alterations
2 | Remaining Demolition and Frame Items and Stage 4 Changes (cont.)
| Breaking out existing hotel room risers where they are currently infilled with concrete | 114 | nr |  |  |  | Assume 2m x 1m existing riser openings requiring breakout, saw cutting and making good | Demolition & Alterations
Frame Items:
| Concrete repairs to waffle slabs, flat slabs, columns and beams in main building | 1 | item |  |  |  |  | Demolition & Alterations
2 | Remaining Demolition and Frame Items and Stage 4 Changes (cont.)
Additional Items:
| Elefant grating to risers within main building | 583 | m2 |  |  |  |  | Demolition & Alterations
| 300mm deep non flammable void filler to u/s of hotel terrace areas and also to void between L06 and L07. | 828.7269 | m2 |  |  |  |  | Fire Stopping
Sub-total
3 | Hotel - Substructure | [6 empty] | Demolition & Alterations
| Alterations and connections to existing below ground drainage for the new extensions | 1 | item |  |  |  |  | Demolition & Alterations
| SIKA 1 Render system to B1 and B2 walls and floors | 2884.1716 | m2 |  |  |  |  | Plastering & Render
Sub-total
3 | Office - Substructure
| Alterations and connections to existing below ground drainage for the new extensions | 1 | item |  |  |  |  | Demolition & Alterations
| SIKA 1 Render system to B1 and B2 walls and floors | 2884.1716 | m2 |  |  |  |  | Plastering & Render
Sub-total
5 | Hotel - Roof | [6 empty] | Roofing
| RFS- 101 - Hot Melt System, JFRI Insulation 260mm, Vapour Membrane, Adjustable pedestal Varies min 40mm, Concrete Paver 10mm; Kinorigo, Porcelain Stone, Square, 600 x 600mm, 10.5mm min Thickness | 99.5746 | m2 |  |  |  |  | Roofing
| RFS 102 - Hot Melt System, JFRI Insulation 260mm, Vapour Membrane Varies min 40mm, Concrete Paver 50mm; Marshalls, Regular Square flag type, 600x600x50mm | 507.6644 | m2 |  |  |  |  | Roofing
| RFS 102 Annex - Hot Melt System, JFRI Insulation 260mm, Vapour Membrane Varies min 40mm, Concrete Paver 50mm; Marshalls, Regular Square flag type, 600x600x50mm | 176.7452 | m2 |  |  |  |  | Roofing
| RFS - 103 - Hot Melt System, JFRI Insulation varies min 260mm, Vapour membrane, Drainage Layer 40mm, Green Roof Soil 150mm | 378.1739 | m2 |  |  |  |  | Roofing
| RFS - 103 - Hot Melt System, JFRI Insulation varies min 260mm, Vapour membrane, Drainage Layer 40mm, Green Roof Soil 150mm | 77.9142 | m2 |  |  |  |  | Roofing
| RFS 201 - Vapour membrane, Thermal insulation base layer 200mm, Thermal Insulation tapered 300mm, Bituminous membrane, Pedestal 440mm, Concrete Paver 10mm; Kinorigo, Porcelain Stone, Square, 600 x 600mm, 10.5mm min Thickness | 229.2988 | m2 |  |  |  |  | Roofing
| RFS 202 - Vapour membrane, Thermal Insulation 200mm, Bituminous Membrane, Adjustable Pedestal 300mm, Concrete Paver 50mm | 24.083 | m2 |  |  |  |  | Roofing
| RFS 203 - Vapour Membrane, Thermal Insulation 200mm, Bituminous Membrane, Drainage Layer 40mm, Green Roof Soil 310mm | 35.7941 | m2 |  |  |  |  | Roofing
| Caice CS150 and CS300 Lourves to main building roof, as per quote received on 12.03.20 including secondary steelwork framing support. 50/50 split hotel and office | 1 | item |  |  |  |  | Louvres
| Louvred plant screen to Annex building; assume no specific asthetic requirements, system to be off the shelf standard product (50/50 split hotel and office) | 85 | m2 |  |  |  |  | Louvres
5 | Hotel - Roof (cont.)
| Upstand to main building roof perimeter | 318.2627 | m |  |  |  |  | Demolition & Alterations
| Upstand to annex roof perimeter | 98.3747 | m |  |  |  |  | Demolition & Alterations
| Abseiling anchor point and wire to main building roof | 1 | item |  |  |  |  | Mansafe
| Rooflights above GF restaurant and annex building | 19.4459 | m2 |  |  |  |  | Curtain Walling
| Coverings to lift overrun walls and roof | 248.64 | m2 |  |  |  |  | Demolition & Alterations
Sub-total
5 | Office - Roof
| RFS 102 - Hot Melt System, JFRI Insulation 260mm, Vapour Membrane Varies min 40mm, Concrete Paver 50mm; Marshalls, Regular Square flag type, 600x600x50mm | 507.6644 | m2 |  |  |  |  | Roofing
| RFS - 103 - Hot Melt System, JFRI Insulation varies min 260mm, Vapour membrane, Drainage Layer 40mm, Green Roof Soil 150mm | 378.1739 | m2 |  |  |  |  | Roofing
| Caice SS150 and CS300 Lourves to main building roof, as per quote received on 12.03.20 including secondary steelwork framing support. 50/50 split hotel and office | 1 | item |  |  |  |  | Louvres
| Louvred plant screen to Annex building; assume no specific asthetic requirements, system to be off the shelf standard product (50/50 split hotel and office) | 85 | m2 |  |  |  |  | Louvres
Sub-total
6 | Hotel - Stairs and Ramps | [6 empty] | Metalwork
| Plywood protection between GF and L01 to formed opening, where feature staircase for the hotel will be installed | 16 | m2 |  |  |  |  | Metalwork
| Plywood protection between B1 and GF to formed opening, where kitchen staircase for the hotel will be installed | 10 | m2 |  |  |  |  | Metalwork
| New staircase in Core A and Core C on Levels 7 - 9, assume no finishes and left with temporary handrail | 6 | storeys |  |  |  |  | Metalwork
| New large staircase to Annex building (GF - L02), including finishes and handrail | 3 | storeys |  |  |  |  | Metalwork
| New small staircase to Annex building, between GF and B1, including finishes and handrail | 1 | storeys |  |  |  |  | Metalwork
| New small staircase to L04 - L06 | 3 | storeys |  |  |  |  | Metalwork
| Forming new ramps | 1 | item |  |  |  | Disabled access requirements | Metalwork
Sub-total
6 | Office - Stairs and Ramps | [6 empty] | Metalwork
| New staircase to Core D (GF - L09) including finishes and handrail including main and half landings | 10 | storeys |  |  |  |  | Metalwork
| New steps required to Core C | 10 | nr |  |  |  |  | Metalwork
| New large staircase between basement and ground including finishes and handrail | 1 | storey |  |  |  |  | Metalwork
| Allowance for forming new ramps | 1 | item |  |  |  |  | Metalwork
Sub-total
6 | Retail - Stairs and Ramps | [6 empty] | Metalwork
| Plywood protection and scaffold ladder to retail openings | 4 | nr |  |  |  |  | Metalwork
| Plywood protection and scaffold ladder to retail units in pavilion between GF and L01 | 1 | nr |  |  |  |  | Metalwork
Sub-total
7 | Hotel - External Walls, Windows & Doors
| Colorminium Façade Tender Sum (PCSA Fee's separate), Main Works + Prelims + Risk Allowances + Mock-ups | 1 | item |  |  |  |  | Curtain Walling
EWS01 A - Portland stone roof extension
| Horizontal portland stone fins - 50mm thick Portland Stone facing on precast concrete frame unit with anodised solid aluminium insert. 565mm deep, 250mm wide | 169.3092 | m |  |  |  |  | Portland Stone Cladding
| Vertical portland stone fins - 50mm thick Portland Stone facing on precast concrete frame unit with anodised solid aluminium insert. 565mm deep, 300mm wide (tapering) | 166.6766 | m |  |  |  |  | Portland Stone Cladding
| Allowance for firestopping and cavity barrier behind precast panels | 578 | m2 |  |  |  |  | Portland Stone Cladding | Fire Stopping
| Allowance for concrete upstand to base of curtain walling | 86 | m |  |  |  |  | Demolition & Alterations
EWS 02 B - Existing Brickwork
| Localised patch repairs and painting to existing brick in dark grey colour | 1100 | m2 |  |  |  |  | Brickwork repairs
EWS 04 - Curtain walling in new brickwork
| Vertical precast brick piers, 210mm wide, 200mm deep | 45.619 | m |  |  |  |  | Precast Brick Panels
EWS 05 A - Precast brick façade roof extension
| Horizontal precast brick fins - (l- shaped) brick slip facings on precast panels | 71.1837 | m |  |  |  |  | Precast Brick Panels
| Vertical precast brick fins to sides (u-shaped) - brick slip facings on precast panels | 152.5726 | m |  |  |  |  | Precast Brick Panels
7 | Hotel - External Walls, Windows & Doors (cont.)
| Vertical precast brick fins to centre - brick slip facings on precast panels | 83.1512 | m |  |  |  |  | Precast Brick Panels
| Precast brick flat area - brick slip facings on precast panels | 83.6299 | m2 |  |  |  |  | Precast Brick Panels
| Allowance for concrete infill to existing structure to support loadings of the precast façade panels | 73 | m |  |  |  |  | Demolition & Alterations
| Allowance for firestopping, cavity barrier and insulation behind precast panels | 546 | m2 |  |  |  |  | Precast Brick Panels
EWS 05 A (to areas not on L07 and L08)
| Horizontal precast brick fins - brick slip facings on precast panels | 40.4837 | m |  |  |  |  | Precast Brick Panels
| Vertical precast brick fins to sides (narrow) - brick slip facings on precast panels | 65 | m |  |  |  |  | Precast Brick Panels
| Vertical precast brick fins to centre (u-shaped) - brick slip facings on precast panels | 27 | m |  |  |  |  | Precast Brick Panels
| Allowance for firestopping and cavity barrier behind precast panels | 158.1734 | m2 |  |  |  |  | Precast Brick Panels
| Steel balustrade to juliet balconies | 36 | m |  |  |  |  | Metalwork
EWS 05 B - New brickwork façade
| New brickwork façade - new hand laid brick with matching dark pointing, tied back / supported to specialist subcontractor details, 50mm cavity zone | 555.4303 | m2 |  |  |  |  | Brickwork & Blockwork
| Firestopping and cavity barriers | 555.4303 | m2 |  |  |  |  | Brickwork & Blockwork
EWS 05 C - New Brick/Blockwork partywall
| New brick / blockwork party wall, assume basic unenhanced finish with insulation | 347.6581 | m2 |  |  |  |  | Brickwork & Blockwork
7 | Hotel - External Walls, Windows & Doors (cont.)
EWS 06 B - Dover Yard GF Façade
| Berkeley Street and Dover Yard ground floor façade - crittal style steel framed double glazed systems (low-iron glass) for fixed and opening units with proflied steel spandrel panels and mineral wool insulation throughout | 461.376 | m2 |  |  |  | includes façade to passageway display cabinet / coffee shop | Curtain Walling
| Annex building ground floor façade - crittal style steel framed double glazed systems (low-iron glass) for fixed and opening units with steel spandrel panels and mineral wool insulation throughout | 63.0902 | m2 |  |  |  |  | Curtain Walling
| Canopy to ground floor façade (hotel and annex buildings) | 77.549 | m |  |  |  |  | Curtain Walling
| Allowance for metal planter box with washed gravel layer, geotextile membrane and top soil / planting mix | 28 | m |  |  |  |  | Hard Landscaping
EWS 07 - Annex Building
| Curtain walling to annex building | 169 | m2 |  |  |  |  | Curtain Walling
| Anodised aluminium extruded u profile framing | 88 | m |  |  |  |  | Curtain Walling
| E/O for profiled aluminium spandrel panels | 56 | m2 |  |  |  |  | Curtain Walling
| E/O for horizontal steel pivotting windows to L02 | 33 | m2 |  |  |  |  | Curtain Walling
| E/O for schueco anodised aluminium triple lift and slide door | 30 | m2 |  |  |  |  | Curtain Walling
| New brickwork façade - new hand laid brick with matching dark pointing, tied back / supported to specialist subcontractor details, 50mm cavity zone | 592 | m2 |  |  |  |  | Brickwork & Blockwork
| Firestopping and cavity barriers | 592 | m2 |  |  |  |  | Brickwork & Blockwork
| Steel balsutrading to annex building terrace | 20 | m |  |  |  |  | Metalwork
7 | Hotel - External Walls, Windows & Doors (cont.)
EWS 08 - Passageway Feature Wall
| Passageway feature wall, no further detail provided | 36.7836 | m2 |  |  |  |  | Hard Landscaping
| Jesmonite to soffit of underpass | 80.1 | m2 |  |  |  |  | Hard Landscaping
Additional Items
| Glazed balustrades to Level 7 hotel room terraces | 147.4385 | m |  |  |  |  | Glazed Doors & Partitions
| Steel balustrade to Levels 1-6 | 118.3411 | m |  |  |  |  | Metalwork
| External doors; AE0027, AE0028, Retail back passage door by Squires building, 2nr doors to Level 9 | 5 | nr |  |  |  |  | Metal Doors
| Main hotel entrance door, double motorized pivot glazed door | 1 | nr |  |  |  |  | Joinery
Sub-total
7 | Office - External Walls, Windows & Doors
EWS01 B - Pavilion Façade
| 360mm deep, 250mm tall portland stone faced (50mm thick) precast concrete panel with anodised aluminium insert to top of level 2 and ground floor of the pavilion building | 54 | m |  |  |  |  | Portland Stone Cladding
| 210mm deep, 265mm tall portland stone faced (50mm thick) precast concrete panel with anodised aluminium insert to top of level 1 and 3 of the pavilion building | 42 | m |  |  |  |  | Portland Stone Cladding
| 350mm deep, 265mm tall with 700mm tall tapering edge portland stone faced (50mm thick) precast concrete panel with anodised aluminium insert to top of level 4 and 6 of the pavilion building | 33 | m |  |  |  |  | Portland Stone Cladding
| Vertical 350mm deep, bullnosed and angled portland stone faced precast concrete panel with anodised aluminium insert to the pavilion building | 208 | m |  |  |  |  | Portland Stone Cladding
| Vertical 350mm deep, bullnosed portland stone faced precast concrete panel with anodised aluminium insert to the pavilion building | 20 | m |  |  |  |  | Portland Stone Cladding
| Allowance for firestopping and cavity barrier behind precast panels | 366 | m2 |  |  |  |  | Portland Stone Cladding
| Stone coping to terrace area (assume 1000mm girth) | 15 | m |  |  |  |  | Portland Stone Cladding
EWS 02 A - Existing Portland Stone
| Existing Portland Stone façade to be cleaned with minor repairs | 850 | m2 |  |  |  |  | Portland Stone Cladding
7 | Office - External Walls, Windows & Doors (cont.)
EWS 05 B - New brickwork façade
| New brickwork façade - new hand laid brick with matching dark pointing, tied back / supported to specialist subcontractor details, 50mm cavity zone | 555.4303 | m2 |  |  |  |  | Brickwork & Blockwork
| Firestopping and cavity barriers | 555.4303 | m2 |  |  |  |  | Brickwork & Blockwork
EWS 05 C - New Brick/Blockwork partywall
| New brick / blockwork party wall, assume basic unenhanced finish with insulation | 347.6581 | m2 |  |  |  |  | Brickwork & Blockwork
Other Items
| EWS 06 A Style Shopfront (To Office Entrance) | 36.3897 | m2 |  |  |  |  | Curtain Walling
| Glazed balustrade to pavilion terrace | 14 | m |  |  |  |  | Glazed Doors & Partitions
| Main office entrance door | 1 | item |  |  |  | Power assisted automatic swing operated door | Glazed Doors & Partitions
Sub-total
7 | Retail - External Walls, Windows & Doors
EWS 06 A - Retail Shopfronts (Ground Floor)
| Bronze retail shopfronts to ground floor with patinated bronze panels / chanels with aluminium backing panels and brushed / polished bronze lip edges, including low iron structurally glazed windows | 451.2381 | m2 |  |  |  | Assume single glazed | Curtain Walling
| E/O for retail unit doors with bronze frame, kickplates, back to back handles | 7 | nr |  |  |  |  | Curtain Walling
Additional Items
| Frameless glazed corner to retail units on Berkeley Street and Piccadilly | 1 | nr |  |  |  |  | Curtain Walling
| New entrance door to Dover Street | 1 | nr |  |  |  |  | Curtain Walling
Sub-total
8 | Hotel - Internal Walls and Partitions
BLK 200 - 100mm High Density Block, 120min fire rated, 58dB Acoustic Rating
| B1 - 3100 high | 160.0526 | m2 |  |  |  |  | Brickwork & Blockwork
| L07 - 3000 high | 75.3605 | m2 |  |  |  |  | Brickwork & Blockwork
| L08 3400 High | 72.9187 | m2 |  |  |  |  | Brickwork & Blockwork
| FPS 102 - 127mm GypWall Robust, 120min fire rated, 0dB Acoustic Rating. 1 x 12.5mm Gyproc SoudBloc and 1 x 15mm Gyproc Duraline MR to each side. Taped Seamless Finish, One Coat of Gyproc Drywall Prime | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 high | 15.0424 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 - 3200 high | 22.1589 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 - 3400 high | 27.5802 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| BLK 201 - 100mm Architectural Blockwork, 120min fire rated, 60dB Acoustic Rating | [6 empty] | Brickwork & Blockwork
Brickwork & Blockwork
| B1 - 3100 High | 208.2855 | m2 |  |  |  |  | Brickwork & Blockwork
| FPS 103 - 162mm, GypWall Quiet SF, 90min fire rated, 65dB Acoustic Rating. 2 x 15mm Gyproc SoundBloc to each side, Taped seamless finish, Two coats of Gyproc Drywall Sealer | [6 empty] | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 26.7674 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 9.1943 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 9.2245 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 9.1897 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 9.1897 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 9.1897 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L07 - 3000 High | 15.0257 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 - 3400 High | 15.0635 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Hotel - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| FPS 104 - 200mm GypWall Quiet, 120min Fire Rated, 62dB Acoustic Rating. 2 x 15mm Gyproc SoundBloc & 2 x Gyproc Habito 12.5mm to each side. Taped seamless finish, Once coat of Gyproc Drywall Prime | [6 empty] | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 12.5622 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L07 - 3000 High | 10.559 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 - 3400 High | 5.096 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| IWS 100 - 60mm Gypframe I Stud w/Gyproc CoreBoard & 25mm Isover Acoustic Partition Roll between studs w/30mm GypRoc FireLine, 90min fire rated, 45dB Acoustic Rating. Taped seamless finish, One coat of Gyproc Drywall Primer | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 35.2926 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 103.8025 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 42.228 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 42.9446 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 42.861 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 42.861 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 42.861 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L07 - 3000 High | 52.4586 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 - 3400 High | 47.3514 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| IWS 101 - 60mm Gypframe I Stud w/Gyproc CoreBoard & 25mm Isover Acoustic Partition Roll between studs w/45mm Gyproc FireLine, 120min fire rated, 45dB Acoustic Rating. Taped seamless finish, Once coat of Gyproc Drywall Primer | [6 empty] | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 54.1238 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L07 - 3000 High | 76.397 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 - 3400 High | 64.6837 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Hotel - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| IWS 110 - FIreLine Plasterboard Lining, 60min fire rated, 0dB Acoustic Rating. | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 0.61379 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 9.6857 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 1.542 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 1.542 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 1.542 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L07 - 3000 High | 43.2662 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 - 3400 High | 44.4389 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| IWS 112 - Plasterboard Lining, 0min fire rated, 0dB Acoustic Rating | [6 empty] | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 2.0743 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 2.0876 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 2.0953 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 2.0844 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 2.0844 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 2.0844 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Abutments to External Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 4 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 13 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 1 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 6 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 6 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 6 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 6 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L07 - 3000 High | 12 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 - 3400 High | 14 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Hotel - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| E/O for Abutments to Internal Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 29 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 95 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 27 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 25 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 24 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 24 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 24 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L07 - 3000 High | 87 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 - 3400 High | 92 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
E/O for Angles
| GF - 4400 High | 12 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 26 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L07 - 3000 High | 25 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 - 3400 High | 26 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Single Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 | 3 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 | 28 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 | 6 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L07 | 25 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 | 30 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Hotel - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| E/O for Double Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
Gyproc Linings Ceilings & Partitions
| B1 | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 | 8 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L07 | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Lift Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 | 1 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF | 3 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 | 3 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 | 3 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 | 3 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 | 3 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 | 3 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L07 | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L08 | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Hotel - Internal Walls and Partitions (cont.)
| Back of House | [6 empty] | Brickwork & Blockwork
| BLK 200 - 100mm High Density Block, 120min fire rated, 58dB Acoustic Rating | [6 empty] | Brickwork & Blockwork
| B2 - 3600 High | 207.7585 | m2 |  |  |  |  | Brickwork & Blockwork
| B1 - 3100 High | 248.3995 | m2 |  |  |  |  | Brickwork & Blockwork
| BLK 201 - 100mm Architectural Blockwork, 120min fire rated, 60dB Acoustic Rating | [6 empty] | Brickwork & Blockwork
| B2 - 3600 High | 22.7595 | m2 |  |  |  |  | Brickwork & Blockwork
| B1 - 3100 High | 184.2759 | m2 |  |  |  |  | Brickwork & Blockwork
| IWS 101 - 60mm Gypframe I Stud w/Gyproc CoreBoard & 25mm Isover Acoustic Partition Roll between studs w/45mm Gyproc FireLine, 120min fire rated, 45dB Acoustic Rating. Taped seamless finish, Once coat of Gyproc Drywall Primer | [6 empty] | Gyproc Linings Ceilings & Partitions
| L09 - 3200 High | 12.3999 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| IWS 110 - FireLine Plasterboard Lining, 60min fire rated, 0dB Acoustic Rating. | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 - 3600 High | 1.1027 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 0.62441 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Abutments - External Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 - 3600 High | 6 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 7.5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L09 - 3200 High | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Hotel - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| E/O for Abutments - Internal Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 - 3600 High | 16 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 42 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L09 - 3200 High | 4 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Angles | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 - 3600 High | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 20 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L09 - 3200 High | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Single Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 | 1 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 | 3.5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Double Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 | 4 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 | 10 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L09 | 0.5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| Skim finish to basement perimeter walls on B1 and B2 | 665.861 | m2 |  |  |  |  | Plastering & Render
| Insulation to existing perimeter wall and plasterboard lining to existing internal walls in hotel demise | 1844.1815 | m2 |  |  |  |  | Gyproc Linings Ceilings & Partitions
| Perimeter wall lining to internal face of new facades in hotel demise | 2056.523 | m2 |  |  |  |  | Plastering & Render
Sub-total
8 | Office - Internal Walls and Partitions
| BLK 201 - 100mm Architectural Blockwork, 120min fire rated, 60dB Acoustic Rating | [6 empty] | Brickwork & Blockwork
| B1 - 3100 High | 115.418 | m2 |  |  |  |  | Brickwork & Blockwork
| FPS 100 - 145mm GypWall Staggered w/ Moisture Resistant Lining, 90min fire rated, 53dB Acoustic Rating. 2 x 15mm Gyproc SoundBloc to each side. 1 x 12.5mm Gyproc Moisture Resistant to one side, Taped seamless finish, One coat of Gyproc Drywall Prime | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 30.5156 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 17.8012 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 17.8224 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 9.7943 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 9.7943 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 9.7943 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| FPS 101 - 414mm BG Gyp Quiet w/Moisture Resistant Lining, 90min fire rated, 53dB. 1 x 15mm Gyproc SoundBloc & 1 x 12.5mm Gyproc Moisture Resistant to each side. Taped seamless finish, Two coats of Gyproc Drywall Sealer | [6 empty] | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 5.7978 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 5.7517 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 5.679 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 5.679 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 5.679 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| FPS 102 - 127mm GypWall Robust, 120min fire rated, 0dB Acoustic Rating. 1 x 12.5mm Gyproc SoudBloc and 1 x 15mm Gyproc Duraline MR to each side. Taped Seamless Finish, One Coat of Gyproc Drywall Prime | [6 empty] | Gyproc Linings Ceilings & Partitions
8 | Office - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 2.6284 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 5.2654 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 12.0091 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 12.0091 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 12.0091 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| FPS 103 - 162mm, GypWall Quiet SF, 90min fire rated, 65dB Acoustic Rating. 2 x 15mm Gyproc SoundBloc to each side, Taped seamless finish, Two coats of Gyproc Drywall Sealer | [6 empty] | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 5.1037 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 5.1037 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 5.1037 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| FPS 104 - 200mm GypWall Quiet, 120min Fire Rated, 62dB Acoustic Rating. 2 x 15mm Gyproc SoundBloc & 2 x Gyproc Habito 12.5mm to each side. Taped seamless finish, Once coat of Gyproc Drywall Prime | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 9.9952 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 16.7371 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 16.7144 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 16.7513 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 16.7513 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 16.7513 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Office - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| IWS 100 - 60mm Gypframe I Stud w/Gyproc CoreBoard & 25mm Isover Acoustic Partition Roll between studs w/30mm GypRoc FireLine, 90min fire rated, 45dB Acoustic Rating. Taped seamless finish, One coat of Gyproc Drywall Primer | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 36.2353 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 110.8875 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 105.0921 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 109.687 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 109.687 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 109.687 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| IWS 101 - 60mm Gypframe I Stud w/Gyproc CoreBoard & 25mm Isover Acoustic Partition Roll between studs w/45mm Gyproc FireLine, 120min fire rated, 45dB Acoustic Rating. Taped seamless finish, Once coat of Gyproc Drywall Primer | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 27.1805 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 63.4385 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 66.3978 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 66.9681 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 66.9681 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 66.9681 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| IWS 110 - FIreLine Plasterboard Lining, 60min fire rated, 0dB Acoustic Rating. | [6 empty] | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 9.4104 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 4.6308 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 7.6154 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 7.6154 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 7.6154 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Office - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| IWS 111 - Moisture Resistant Platerboard Lining, 0min fire rated, 0dB Acoustic Rating | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 15.3882 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 5.7831 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 3.3117 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 0.71243 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 3.3711 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 3.3711 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 3.3711 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Abutments - External Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 4 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 4 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 8 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 8 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 8 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Abutments - Internal Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 38 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 44 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 101 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 107 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 112 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 112 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 112 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Office - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| E/O for Angles | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 13 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 15 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 39 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 40 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 - 3100 High | 37 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 - 2800 High | 37 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 - 3600 High | 37 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Single Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 | 12 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF | 3 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 | 29 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 | 17 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 | 30 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 | 30 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 | 30 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Double Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF | 1 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 | 10 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 | 9 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 | 9 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 | 9 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Office - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| E/O for Lift Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF | 3 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 | 1 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 | 3 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L04 | 4 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L05 | 4 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L06 | 4 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| Annex | [6 empty] | Brickwork & Blockwork
| BLK 200 - 100mm High Density Block, 120min fire rated, 58dB Acoustic Rating | [6 empty] | Brickwork & Blockwork
| GF - 4400 High | 58.9527 | m2 |  |  |  |  | Brickwork & Blockwork
| BLK 201 - 100mm Architectural Blockwork, 120min fire rated, 60dB Acoustic Rating | [6 empty] | Brickwork & Blockwork
| GF - 4400 High | 145.3922 | m2 |  |  |  |  | Brickwork & Blockwork
| FPS 100 - 145mm GypWall Staggered w/ Moisture Resistant Lining, 90min fire rated, 53dB Acoustic Rating. 2 x 15mm Gyproc SoundBloc to each side. 1 x 12.5mm Gyproc Moisture Resistant to one side, Taped seamless finish, One coat of Gyproc Drywall Prime | [6 empty] | Brickwork & Blockwork
| L01 - 3200 High | 17.3532 | m |  |  |  |  | Brickwork & Blockwork
| L02 - 3100 High | 13.0857 | m |  |  |  |  | Brickwork & Blockwork
8 | Office - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| FPS 104 - 200mm GypWall Quiet, 120min Fire Rated, 62dB Acoustic Rating. 2 x 15mm Gyproc SoundBloc & 2 x Gyproc Habito 12.5mm to each side. Taped seamless finish, Once coat of Gyproc Drywall Prime | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 2.525 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 13.7668 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 13.4825 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| IWS 100 - 60mm Gypframe I Stud w/Gyproc CoreBoard & 25mm Isover Acoustic Partition Roll between studs w/30mm GypRoc FireLine, 90min fire rated, 45dB Acoustic Rating. Taped seamless finish, One coat of Gyproc Drywall Primer | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 14.322 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 15.9891 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 16.2436 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 12.6774 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| IWS 101 - 60mm Gypframe I Stud w/Gyproc CoreBoard & 25mm Isover Acoustic Partition Roll between studs w/45mm Gyproc FireLine, 120min fire rated, 45dB Acoustic Rating. Taped seamless finish, Once coat of Gyproc Drywall Primer | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 8.5822 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 9.2178 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 9.1386 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Abutments - External Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 11 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 10 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 16 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Office - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| E/O for Abutments - Internal Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 10 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 20 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 18 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Angles | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 20 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 - 3200 High | 13 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 - 3100 High | 13 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L03 - 3100 High | 8 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Single Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF | 1 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Double Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 | 1 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Lift Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF | 3 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L01 | 1 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L02 | 1 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Office - Internal Walls and Partitions (cont.) | [6 empty] | Brickwork & Blockwork
| UKPN Substation Walls Refer to UKPN & Mechanical Engineer's Specification | [6 empty] | Brickwork & Blockwork
| GF - 4400 High | 220.8663 | m2 |  |  |  |  | Brickwork & Blockwork
| L01 - 3200 High | 43.6299 | m2 |  |  |  |  | Brickwork & Blockwork
| Back of House | [6 empty] | Brickwork & Blockwork
| BLK 200 - 100mm High Density Block, 120min fire rated, 58dB Acoustic Rating | [6 empty] | Brickwork & Blockwork
| B2 - 3600 High | 207.7585 | m2 |  |  |  |  | Brickwork & Blockwork
| B1 - 3100 High | 248.3995 | m2 |  |  |  |  | Brickwork & Blockwork
| BLK 201 - 100mm Architectural Blockwork, 120min fire rated, 60dB Acoustic Rating | [6 empty] | Brickwork & Blockwork
| B2 - 3600 High | 22.7595 | m2 |  |  |  |  | Brickwork & Blockwork
| B1 - 3100 High | 184.2759 | m2 |  |  |  |  | Brickwork & Blockwork
| IWS 101 - 60mm Gypframe I Stud w/Gyproc CoreBoard & 25mm Isover Acoustic Partition Roll between studs w/45mm Gyproc FireLine, 120min fire rated, 45dB Acoustic Rating. Taped seamless finish, Once coat of Gyproc Drywall Primer | [6 empty] | Gyproc Linings Ceilings & Partitions
| L09 - 3200 High | 12.3999 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| IWS 110 - FIreLine Plasterboard Lining, 60min fire rated, 0dB Acoustic Rating. | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 - 3600 High | 1.1027 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 0.62441 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Office - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| E/O for Abutments - External Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 - 3600 High | 6 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 7.5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L09 - 3200 High | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Abutments - Internal Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 - 3600 High | 16 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 42 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L09 - 3200 High | 4 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Angles | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 - 3600 High | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 20 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L09 - 3200 High | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Single Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 | 1 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 | 3.5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Double Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| B2 | 4 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| B1 | 10 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| L09 | 0.5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Lift Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 | 1 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Office - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| Insulation to existing perimeter wall in office demise | 1941 | m2 |  |  |  | Plasterboard lining to walls included in CAT A | Gyproc Linings Ceilings & Partitions
| Skim finish to basement perimeter walls on B1 and B2 | 665.861 | m2 |  |  |  |  | Plastering & Render
| Crittal style 90 minute fire rated glazed partition between hotel and office reception | 9 | m2 |  |  |  |  | Glazed Doors & Partitions
Sub-total
8 | Retail - Internal Walls and Partitions | [6 empty] | Brickwork & Blockwork
| BLK 200 - 100mm High Density Block, 120min fire rated, 58dB Acoustic Rating | [6 empty] | Brickwork & Blockwork
| B1 - 3100 High | 339.0506 | m2 |  |  |  |  | Brickwork & Blockwork
| GF - 4400 High | 356.1057 | m2 |  |  |  |  | Brickwork & Blockwork
| BLK 201 - 100mm Architectural Blockwork, 120min fire rated, 60dB Acoustic Rating | [6 empty] | Brickwork & Blockwork
| GF - 4400 High | 123.3051 | m2 |  |  |  |  | Brickwork & Blockwork
| IWS 101 - 60mm Gypframe I Stud w/Gyproc CoreBoard & 25mm Isover Acoustic Partition Roll between studs w/45mm Gyproc FireLine, 120min fire rated, 45dB Acoustic Rating. Taped seamless finish, Once coat of Gyproc Drywall Primer | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 32.988 | m |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Abutments - External Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 6 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 11 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
8 | Retail - Internal Walls and Partitions (cont.) | [6 empty] | Gyproc Linings Ceilings & Partitions
| E/O for Abutments - Internal Walls | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 26 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 45 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Angles | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 - 3100 High | 5 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF - 4400 High | 14 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Single Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| B1 | 7 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| GF | 13 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
| E/O for Lift Openings | [6 empty] | Gyproc Linings Ceilings & Partitions
| GF | 2 | nr |  |  |  |  | Gyproc Linings Ceilings & Partitions
Sub-total
9 | Hotel - Internal Doors | [5 empty] | including ironmongery, frames and architraves | Joinery
| Hotel Door, Ref DRS-100, Interior Single Door, 60 minute fire rated | 21 | nr |  |  |  |  | Joinery
| Hotel Door, Ref DRS-104, Interior Riser Double Door, 60 minute fire rated | 27 | nr |  |  |  |  | Joinery
| Hotel Door, Ref DRS-104, Interior Riser Single Door, 60 minute fire rated | 60 | nr |  |  |  |  | Joinery
| General Door, Ref DRS-100, Interior Double Door, 30 minute fire rated | 2 | nr |  |  |  |  | Joinery
| General Door, Ref DRS-100, Interior Double Door, 60 minute fire rated | 2 | nr |  |  |  |  | Joinery
| General Door, Ref DRS-100, Interior Double Door Unequal Pairs, 30 minute fire rated | 8 | nr |  |  |  |  | Joinery
| General Door, Ref DRS-100, Interior Double Door Unequal Pairs, 60 minute fire rated | 2 | nr |  |  |  |  | Joinery
| General Door, Ref DRS-100, Interior Single Door, 60 minute fire rated | 15 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| General Door, Ref DRS-100, Interior Single Door, 30 minute fire rated | 2 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| General Door, Ref DRS-100, Interior Timber Double Door Unequal Pairs, 30 minute fire rated | 7 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| General Door, Ref DRS-100, Interior Timber Double Door Unequal Pairs, 60 minute fire rated | 9 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| General Door, Ref DRS-104, Interior Riser Double Door, 60 minute fire rated | 29 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| General Door, Ref DRS-104, Interior Riser Single Door, 60 minute fire rated | 33 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| General Door, Ref DRS-105, Concealed Door, 30 minute fire rated | 1 | nr |  |  |  |  | Joinery
| General Door, Ref DRS-105, Interior Single Door, 60 minute fire rated | 1 | nr |  |  |  |  | Joinery
9 | Hotel - Internal Doors (cont.) | [5 empty] | including ironmongery, frames and architraves | Joinery
| General Door, Ref DRS-200, UKPN Substation Double Door, 240 minute fire rated | 1 | nr |  |  |  |  | Joinery
| General Door, Ref DRS-300, Interior Glazed Double Door, 60 minute fire rated | 4 | nr |  |  |  |  | Joinery
Sub-total
9 | Office - Internal Doors | [5 empty] | including ironmongery, frames and architraves | Joinery
| Office Door, Ref -, Interior Ventilation Motorised Door, 60 minute fire rated | 17 | nr |  |  |  |  | Joinery
| Office Door, Ref DRS-100, Interior Double Door, 60 minute fire rated | 1 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| Office Door, Ref DRS-100, Interior Double Door Unequal Pairs, 30 minute fire rated | 1 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| Office Door, Ref DRS-100, Interior Double Door Unequal Pairs, 60 minute fire rated | 1 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| Office Door, Ref DRS-100, Interior Single Door, 30 minute fire rated | 11 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| Office Door, Ref DRS-100, Interior Single Door, 60 minute fire rated | 36 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| Office Door, Ref DRS-100, Interior Timber Double Door Unequal Pairs, 60 minute fire rated | 4 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| Office Door, Ref DRS-104, Interior Riser Double Door, 60 minute fire rated | 21 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| Office Door, Ref DRS-104, Interior Riser Single Door, 60 minute fire rated | 100 | nr |  |  |  | Timber Door, Painted Finish | Joinery
9 | Office - Internal Doors (cont.) | [5 empty] | including ironmongery, frames and architraves | Joinery
| Office Door, Ref DRS-105, Concealed Double Door Unequal Pairs, 60 minute fire rated | 1 | nr |  |  |  |  | Joinery
| Office Door, Ref DRS-105, Interior Single Door, 60 minute fire rated | 4 | nr |  |  |  |  | Joinery
| Office Door, Ref DRS-106, Interior Single Door, 30 minute fire rated | 5 | nr |  |  |  |  | Joinery
| Office Door, Ref DRS-106, Timber door with flush frame. DDA WC entrance doors., 60 minute fire rated | 5 | nr |  |  |  |  | Joinery
| Office Door, Ref DRS-107, Interior Riser Single Door, 60 minute fire rated | 5 | nr |  |  |  |  | Joinery
| Office Door, Ref DRS-300, Interior Glazed Double Door, 60 minute fire rated | 2 | nr |  |  |  |  | Glazed Doors & Partitions
| Office Door, Ref DRS-301, Single Reeded Glass Door, 60 minute fire rated | 5 | nr |  |  |  | Reeded glass incl in finishes | Glazed Doors & Partitions
| Office Door, Ref DRS-302, Single Reeded Glass Door, 30 minute fire rated | 10 | nr |  |  |  | Reeded glass incl in finishes | Glazed Doors & Partitions
| Office Door, Ref DRS-302, Single Reeded Glass Door, 60 minute fire rated | 5 | nr |  |  |  | Reeded glass incl in finishes | Glazed Doors & Partitions
| Annex Door, Ref DRS-104, Interior Riser Single Door, 60 minute fire rated | 1 | nr |  |  |  | Timber Door, Painted Finish | Joinery
| Annex Door, Ref DRS-200, UKPN Substation Double Door, 240 minute fire rated | 1 | nr |  |  |  |  | Joinery
| Annex Door, Ref DRS-201, Metal Double Door, - minute fire rated | 1 | nr |  |  |  |  | Metal Doors
| Annex Door, Ref DRS-300, Interior Glazed Double Door, 60 minute fire rated | 1 | nr |  |  |  |  | Glazed Doors & Partitions
Sub-total
9 | Retail - Internal Doors | [5 empty] | including ironmongery, frames and architraves
| Retail Door, Ref DRS-104, Interior Riser Single Door, 60 minute fire rated | 6 | nr |  |  |  | Timber Door, Painted Finish | Joinery
Sub-total
10 | Internal Finishes | [6 empty] | Screeding
| Screeding and Floor Substrates | [6 empty] | Screeding
| Annex - SCR-103, 65mm thick Unbonded Levelling Screed | 189.8125 | m2 |  |  |  |  | Screeding
| Annex - SCR-104, 65mm thick Unbonded Levelling Screed | 27.5852 | m2 |  |  |  |  | Screeding
| Annex - SCR-104, Void Former, thickness varies | 27.5852 | m2 |  |  |  |  | Screeding
| BOH - RAF-100, 35mm thick Raised Access Floor Tile - 600x600mm Panels to L09 | 17.8685 | m2 |  |  |  |  | Tiling
| BOH - SCR-101, 95mm thick Unbonded Levelling Screed | 938.3027 | m2 |  |  |  |  | Screeding
| BOH - SCR-102, 100mm thick Unbonded Levelling Screed | 371.2161 | m2 |  |  |  |  | Screeding
| BOH - SCR-103, 65mm thick Unbonded Levelling Screed | 11.9741 | m2 |  |  |  |  | Screeding
| Office - RAF-101, 30mm Raised Floor Tile - 600x600mm Panels, to Core D and Core C lobbies | 188.38 | m2 |  |  |  |  | Raised Access Flooring
| Office - SCR-100, 80mm thick Unbonded Levelling Screed, to changing room areas | 93.3233 | m2 |  |  |  |  | Screeding
| Office - SCR-103, 65mm thick Unbonded Levelling Screed | 102.1833 | m2 |  |  |  |  | Screeding
| Office - SCR-104, 65mm thick Unbonded Levelling Screed | 286.5932 | m2 |  |  |  |  | Screeding
| Office - SCR-104, Void Former, thickness varies | 286.5932 | m2 |  |  |  |  | Screeding
| Retail - RAF-101, 30mm Raised Floor Tile - 600x600mm Panels, to Core D GF Corridor | 55.1783 | m2 |  |  |  |  | Raised Access Flooring
Floor Finishes
Screeding
| Annex - PLC-100, 100mm thick Polished Concrete | 34.068 | m2
10 | Internal Finishes (cont.)
| Annex - PLC-100, 100mm thick Polished Concrete to External Walkway | 61.1569 | m2 |  |  |  |  | Screeding
| BOH - PLC-100, Power float screed with sealer | 260.9136 | m2 |  |  |  | Assume power float screed, not PLC-100 | Screeding
| Office - FLO-500, Terrazo Floor Tile to WC's and WC Lobby | 230 | m2 |  |  |  |  | Tiling
| Office - FLO-100, Ceramic Floor Tile, to Changing Room and Shower Area | 93.3233 | m2 |  |  |  |  | Tiling
| Office - FLO-500, Terrazo Floor Tile to Core C and Core D Lobbies | 143.2618 | m2 |  |  |  |  | Tiling
| Office - FLO-500, Terrazo Floor Tile, to Staircores | 124.782 | m2 |  |  |  |  | Tiling
| Office - FLO-501, Reception In-Situ Terrazzo Flooring | 92.1833 | m2 |  |  |  |  | Tiling
| Office - Reception matwell | 10 | m2 |  |  |  |  | Soft Flooring
| Retail - FLO-500, Core Tile to Core D corridor on GF | 55.1783 | m2 |  |  |  |  | Soft Flooring
Wall Finishes
| Annex, back of house wall finish, primer and paint | 283.3409 | m2 |  |  |  |  | Painting
| Annex, wall finishes to bike storage circulation area, primer and paint | 142.6004 | m2 |  |  |  |  | Painting
| Changing room, Shower and WC wall finishes, mid spec ceramic tiling | 210.6494 | m2 |  |  |  |  | Tiling
| Changing room, locker and changing area wall finishes, mid spec ceramic tiling | 185.5301 | m2 |  |  |  |  | Tiling
10 | Internal Finishes (cont.)
| Core C staircore wall finishes, skim and paint | 447.8059 | m2 |  |  |  |  | Painting | Plaster
| Core D staircore wall finishes, skim and paint | 351.0559 | m2 |  |  |  |  | Painting | Plaster
| External walkway area wall finish, primer and paint | 269.1765 | m2 |  |  |  |  | Painting
| Ground floor Core D corridor wall finish, paint and skim | 333.9046 | m2 |  |  |  |  | Painting | Plaster
| Office Lift Lobbies, Core C and Core D, elm timber wall panelling with battens | 320.5 | m2 |  |  |  |  | Joinery
| Office Lift Lobbies, Core C and Core D, reeded glass | 40 | m2 |  |  |  |  | Glazed Doors & Partitions
| Office WC's, Frameless partition system with flush door, PCS-100 | 45 | nr |  |  |  |  | WC Cubicles
| Office WC's mirrors | 36.6001 | m2 |  |  |  |  | WC Cubicles
| Office WC's reeded glass wall finishes | 445 | m2 |  |  |  |  | WC Cubicles
| Reception, elm timber wall panelling with battens | 37 | m2 |  |  |  |  | Joinery
| Reception, bronze wall panelling | 19 | m2 |  |  |  |  | Joinery
| Reception, metal wall panelling | 37 | m2 |  |  |  |  | Joinery
| Back of house and plant areas, primer and paint | 3806.0985 | m2 |  |  |  |  | Painting
10 | Internal Finishes (cont.)
Ceiling Finishes
| Annex Plant and BOH Areas, painted plasterboard lining | 65 | m2 |  |  |  |  | Gyproc Linings Ceilings & Partitions | Painting
| Annex BOH lobby leading to basement area, painted plasterboard lining | 34.068 | m2 |  |  |  |  | Gyproc Linings Ceilings & Partitions | Painting
| Basement BOH and plant areas, exposed concrete slab, minor repair works | 1309.7748 | m2 |  |  |  |  | Demolition & Alterations
| Basement cycle storage corridor, painted plasterboard lining | 260.9136 | m2 |  |  |  |  | Gyproc Linings Ceilings & Partitions | Painting
| Office WC's, elm timber batten ceiling to main WC area, DDA toilet and WC lobby | 160 | m2 |  |  |  |  | WC Cubicles
| Office WC's; above cubicles, moisture resistant suspended ceiling | 60 | m2 |  |  |  |  | Gyproc Linings Ceilings & Partitions
| Office Changing and Shower room, moisture resistant suspended ceiling | 93.3233 | m2 |  |  |  |  | Gyproc Linings Ceilings & Partitions
| Office Lift Lobbies, Core C and Core D, Rentex glass ceiling with timber battens | 150 | m2 |  |  |  |  | Gyproc Linings Ceilings & Partitions
| Office Reception, Rentex glass ceiling with timber battens | 94 | m2 |  |  |  |  | Gyproc Linings Ceilings & Partitions
Other Items
| Finishes to Landlord areas within the Annex building | 84 | m2 |  |  |  | GF Lobby, L01 and L02 Lift Lobby, L01 and L02 WC Lobby | Joinery
10 | Internal Finishes (cont.)
| Enhanced finishes to Office Lobby lift reveals (L02 - L06) Core C and Core D | 20 | nr |  |  |  |  | Joinery
| Bespoke built in leather bench seat to Office Core D Lobby | 5 | nr |  |  |  |  | Joinery
| Bespoke bronze framed curved mirror above Office WC sinks | 25 | nr |  |  |  |  | Joinery
| Curved elm wall cladding to Office Reception feature column | 12.6756 | m2 |  |  |  |  | Joinery
| Enhanced finishes to Office Reception lift reveals | 3 | nr |  |  |  |  | Joinery
| Reception seating | 1 | item |  |  |  |  | Joinery
| Silent gliss wave curtain system to Office Reception glazed partition | 28 | m2 |  |  |  |  | Joinery
| Reception desk | 1 | item |  |  |  |  | Joinery
| Repairs to Core C stairs (B1 - L06) | 8 | storey |  |  |  |  | Metalwork
| Enhanced finishes to lift cars (Core C and D Lifts only) | 4 | nr |  |  |  |  | Lift Installation
Sub-total
11 | Office - Fittings & Fixtures
| Toilet roll holders, coat hooks and brushes to Office WC's | 50 | nr |  |  |  |  | WC Cubicles | Joinery
| Falco vert pro stacked cycle parking, space for 150nr bikes | 150 | nr |  |  |  |  | Cycle Stands
| C+P S7000 Prefino lockers, 50nr, double stacked with digilock | 50 | nr |  |  |  |  | Joinery
| FF&E to showers and changing | 1 | item |  |  |  |  | WC Cubicles | Joinery
| Double fire curtain to Office reception area | 2 | nr |  |  |  |  | Fire Curtains
| Fire Curtains to Elevation F as per BB7 report | 92 | m2 |  |  |  |  | Fire Curtains
Sub-total
12 | Hotel - Mechanical & Electrical Installations (incl Annex) | [6 empty] | Mechanical & Electrical
| Hotel - Shell and Core MEP | 1 | item |  |  |  |  | Mechanical & Electrical
Sub-total
12 | Office - Mechanical & Electrical Installations | [6 empty] | Mechanical & Electrical
| Office - Shell and Core MEP | 1 | item |  |  |  |  | Mechanical & Electrical
Sub-total
12 | Retail - Mechanical & Electrical Installations | [6 empty] | Mechanical & Electrical
| Retail - Shell and Core MEP | 1 | item |  |  |  |  | Mechanical & Electrical
Sub-total
13 | Lifts | [6 empty] | Lift Installation
| Shell and Core Lift Installations | 1 | item |  |  |  |  | Lift Installation
Sub-total
16 | Hotel - External Works | [6 empty] | Hard Landscaping
| Drainage to courtyard | 1 | item |  |  |  |  | Hard Landscaping
| PAV - 101, Footpath reinstatement (50/50 split hotel and retail), 600 x 600 x 63 concrete flags | 269.5 | m2 |  |  |  |  | Hard Landscaping
| PAV - 102, Dover Yard, 150 x 150 x 150 granite cobbles | 408 | m2 |  |  |  |  | Hard Landscaping
| PAV - 103, Back of house passage by Squires building, 600 x 600 x 20 porcelein pavers | 76 | m2 |  |  |  |  | Hard Landscaping
| Kerbs, planters, ramps and balustrades to Dover Yard | 1 | item |  |  |  |  | Hard Landscaping
| Allowance for street furniture to courtyard (FF&E) | [5 empty] | Assume by hotel fit out team | Hard Landscaping
| Cycle stands | 1 | item |  |  |  |  | Cycle Stands
Sub-total
16 | Retail - External Works | [6 empty] | Hard Landscaping
| PAV - 101, Footpath reinstatement (50/50 split hotel and retail) | 269.5 | m2 |  |  |  |  | Hard Landscaping
Sub-total
17 | Hotel - Utilities and External Services
| Relocation and removal of existing assets | 1 | item |  |  |  |  | Utilities
| Permanent Substations | 1 | item |  |  |  |  | Utilities
| Temporary sub-stations (TBS) | 1 | item |  |  |  |  | Utilities
| UKPN Works Variation | 1 | item |  |  |  |  | UKPN
| Ventilation for UKPN | 1 | item |  |  |  |  | UKPN
| Water, infrastructure charge | 1 | item |  |  |  |  | Utilities
| Incoming gas | 1 | item |  |  |  |  | Utilities
| Sewer connections | 1 | item |  |  |  |  | Utilities
| Telephone ducts | 1 | item |  |  |  |  | Utilities
| Extenal / Feature Lighting inc Power | 1 | item |  |  |  |  | Utilities
| External Irrigation | [6 empty] | Utilities
| External Security and CCTV | 1 | item |  |  |  |  | Utilities
Sub-total
17 | Office - Utilities and External Services
| Relocation and removal of existing assets | 1 | item |  |  |  |  | Utilities
| Permanent Substations | 1 | item |  |  |  |  | Utilities
| Temporary sub-stations (TBS) | 1 | item |  |  |  |  | Utilities
| UKPN Works Variation | 1 | item |  |  |  |  | Utilities
| Ventilation for UKPN | 1 | item |  |  |  |  | Utilities
| Water, infrastructure charge | 1 | item |  |  |  |  | Utilities
| Incoming gas | 1 | item |  |  |  |  | Utilities
| Sewer connections | 1 | item |  |  |  |  | Utilities
| Telephone ducts | 1 | item |  |  |  |  | Utilities
| Extenal / Feature Lighting inc Power | 1 | item |  |  |  |  | Utilities
| External Irrigation | [6 empty] | Utilities
| External Security and CCTV | 1 | item |  |  |  |  | Utilities
Sub-total