## Summary
25 Cannon Street
Appendix A
Contract Sum Analysis - WP15 Carpentry & Joinery
|  | Description |  | £
APPENDIX A - SUMMARY PAGE
1 |  | Design
| a | Allowance for Sub-Contractor Design | Item | Refer tender letter
| b | Allowance for Design Development | Item | Refer tender letter
2 |  | Insurances and Warranties & Bonds
| a | Insurance Premium | Item | Included
| b | Warranties | Item | Subject to wording
| c | Bonds | Item | Excluded
3 |  | Preliminaries [breakdown required]
|  | Preliminary costs required to satisfy the full construction programme, including the management required to achieve the project detail within the Tender documentation (breakdown to follow) | Item | 176700
4 |  | Measured Works
|  | Carried forward from Measured Works Schedule of Works | b/fwd | 1690997.05
|  | Doors & frames as attached priced door schedule |  | 351452.85
|  | Ironmongery for the above doors as 3v schedule CT0819-01-T |  | 166279.37
5 |  | Provisional Sums
Carried forward from Defined Provisional Sums sheet
6 |  | Fixed Price
|  | Allowance for fixed price for duration of main contract works | Item | Excluded
7 |  | Other Items
|  | Please include below any other items necessary to carry out the works, please identify and breakdown | Item
8 |  | Overhead and profit
|  | Addition for overhead and profit; please note this sum will be used (pro-rata the final contract sum) as the addition to any variations for the sub-contractors OH&P | % | Included
8 |  | Value Engineering
|  | Carried forward from Value Engineering Sums sheet |  | Refer tender letter
|  |  | Tender Lump Sum Value | 2385429.27
| a | Expendable Test Piles | item

## 4. Msd wrks
25 Cannon Street
Measured Works
WP15 Carpentry and Joinery
| Description | Quant | Unit | Rate | Value
WP15 Carpentry and Joinery
The following works are identified on the marked-up BGY Architects drawings also as outlined in the marked-up scope along with the BGY Architects Specifications
CORE WALL - WOOD VENEERED PANEL LINING OPTION 1 [WF-01]: Refer to Specification K13/121 & BGY CO Series drawings
Timber veneer panelling fixed to plasterboard partition substrate (by others), wood species to be American Walnut, fire retardant impregnation treatment to achieve class 0 rating.
Basement
Male Changing Room - Refer to drawings BGY EOT_01-04
1 | Veneer panelling to walls: WF-01; Refer to dwg BGY EOT_02 detail 1 | 6 | m2 | 494.01 | 2964.06
2 | Timber Veneer back panel to WC cubicles with removable section; Refer to dwg WC_41 for details | 2 | nr | 1263.3 | 2526.6
Female Changing Room - Refer to drawing BGY EOT_11-14
3 | Veneer panelling to walls: WF-01; Refer to dwg BGY EOT_13 detail 2. | 8 | m2 | 494.01 | 3952.08
4 | Timber Veneer back panel to WC cubicles with removable section; Refer to dwg WC_41 for details | 2 | nr | 1263.3 | 2526.6
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
5 | Range of 2 Timber Veneer back panel to WC cubicles with removable section; Refer to dwg WC_41 for details | 1 | nr | 1909.4 | 1909.4
6 | Veneer panelling to walls: WF-01; Refer to dwg WC_11 detail 4 | 1 | nr | 672.51 | 672.51
Female WC - Refer to drawing BGY WC_10 & WC_12
7 | Range of 4 Timber Veneer back panel to WC cubicles with removable section; Refer to dwg WC_41 for details | 1 | nr | 3818.81 | 3818.81
Accessible Toilet - Refer to drawing BGY WC_10 & WC_13
8 | Range of 1 Timber veneer back panel: WF-01; Refer to dwg WC_13 detail 5 | 1 | nr | 1277.13 | 1277.13
9 | Veneer panelling to boxing out; Refer to dwg WC_13 detail 3 | 1 | nr | 638.57 | 638.57
Reception WC - Refer to drawing BGY RE_38
10 | Timber veneer back panel to AWC; refer to dwg RE_38 detail 8 | 1 | nr | 1363.86 | 1363.86
11 | Timber veneer panel to boxing out; Refer to dwg RE_38 detail 9 | 1 | nr | 716.49 | 716.49
12 | Timber veneer back panel to WC; Refer to dwg RE_38 detail 2 | 1 | nr | 1112.45 | 1112.45
13 | Timber veneer panel to boxing out; Refer to dwg RE_38 detail 3 | 1 | nr | 779.35 | 779.35
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
14 | Veneer panelling to walls: Refer to dwg WC_02 detail 4 | 10 | m2 | Inc item 37
15 | Range of 5 Timber Veneer panelling back panels to cubicles with removable section (20nr) Refer to dwg WC_41 for details | 5 | nr | 4438.52 | 22192.6
Female WC - Refer to BGY drawings WC_03 & WC_04
16 | Range of 9 Timber veneer back panel to cubicles with removable sections (45nr). Refer to dwg WC_41 for details | 5 | nr | 7988.32 | 39941.6
Accessible Toilet - Refer to BGY drawing WC_05
17 | Veneer panelling to wall behind toilet; Refer to dwg WC_05 detail 4 | 5 | nr | 1277.13 | 6385.65
18 | Veneer panelling to boxing out; Refer to dwg WC_05 detail 6 | 5 | nr | 638.57 | 3192.85
BACK-PAINTED GLASS - MALE WC's [WF-02]: Refer to Specification L40/557 & BGY WC Series Drawings
Back painted toughened glass to male WCs urinal area, thickness 6mm, standard colour - RAL number TBC, Glass panel bonded to ply on split timber battens. Refer to drawing WC_40 for detail.
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
19 | Back painted glass to walls: WF-02; circa 1000mm x 1060mm, including cut out for urinal | 2 | nr | 1055.89 | 2111.78
20 | Split timber batten | 1 | Item | Inc above
21 | Solid timber batten to match species and finish of timber panelling K13/121 or 122; typically as dwg WC_40 detail 4 | 1 | Item | Not applicable
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
22 | Back painted glass to walls: WF-02; circa 1000mm x 1060mm, including cut out for urinal | 30 | nr | 699.32 | 20979.6
23 | Split timber battens | 1 | Item | Inc above
24 | Solid timber batten to match species and finish of timber panelling K13/121 or 122; typically as dwg WC_40 detail 4 | 1 | Item | Not applicable
FLUTED TIMBER PANELS TO URINAL WALLS to 10mm ply back [LF-50]
Ground Male WC - Refer to drawing BGY WC_10 & WC_11
25 | Veneer panelling to urinal walls: WF-01; Refer to dwg WC_11 detail 4 & 5 | 2 | nr | 2044.77 | 4089.54
26 | Solid timber end panel as per dwg WC_40 | 1 | Item | Inc above
Typical Floor (floor 1-5) Male WC - Refer to BGY drawings WC_01 & WC_02
27 | Veneer panelling to urinal walls: WF-01; Refer to dwg WC_02 details 1 & 4 | 30 | nr | 1550.57 | 46517.1
28 | Solid timber end panel as per dwg WC_40 | 1 | Item | Inc above
WC CUBICLE SYSTEM - ALL FLOORS [FF-18]: Refer to Specification K32/110 & BGY WC Series drawings
Shadbolt Veneered Cubicle System, Finish to door and pilasters (both sides) and internal back panel to be timber veneer to match specification K13/121. Internal divider partitions (both sides) to be Formica or similar high-pressure laminate in F1040 Alpino white - core to be solid high density three-ply chipboard with 7mm think lippings in near-matching hardwood.
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
29 | Timber veneer Cubicle partition system - Doors: undercut 10mm for ventilation | 2 | nr | 4092.21 | 8184.42
30 | Timber veneer end pilasters and top panel system | 1 | Item | Inc above
31 | Formica or similar to cubicle sides internal divider partition | 4 | m2 | Inc above
32 | E.O. for concealed edge lippings of minimum 7mm thickness to match | 1 | Item | Inc above
Female WC - Refer to drawing BGY WC_10 & WC_12
33 | Timber veneer Cubicle partition system - Doors: undercut 10mm for ventilation | 4 | nr | 3647.23 | 14588.92
34 | Timber veneer end pilasters and top panel system | 1 | Item | Inc above
35 | Formica or similar to cubicle sides internal divider partition | 12 | m2 | Inc above
36 | E.O. for concealed edge lippings of minimum 7mm thickness to match | 1 | Item | Inc above
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
37 | Timber veneer Cubicle partition system - Doors: undercut 10mm for ventilation | 25 | nr | 3685.06 | 92126.5
38 | Timber veneer end pilasters and top panel system | 1 | Item | Inc above
39 | Formica or similar to cubicle sides internal divider partition | 75 | m2 | Inc above
40 | E.O. for concealed edge lippings of minimum 7mm thickness to match | 1 | Item | Inc above
Female WC - Refer to BGY drawings WC_03 & WC_04
41 | Timber veneer Cubicle partition system - Doors: undercut 10mm for ventilation | 45 | nr | 3629.15 | 163311.75
42 | Timber veneer end pilasters and top panel system | 1 | Item | Inc above
43 | Formica or similar to cubicle sides internal divider partition | 162 | m2 | Inc above
44 | E.O. for concealed edge lippings of minimum 7mm thickness to match | 1 | Item | Inc above
SHOWER CUBICLES - BASEMENT [FF-18]: Refer to Specification K32/115 & BGY EOT series drawings
Timber veneered panelling to shower rooms to match specification K13/121. Shower door to have timber veneered finish to match K13/121, refer to BGY drawing DD_13. Shower room includes a free standing timber bench. Glazed door and fixed glazed screen on upstand to shower cubicle. Anti -slip stone resin shower tray.
Male Changing Rooms - Refer to drawing BGY EOT_01-04
45 | Shower cubicle partition system doors only; timber veneer finish as dwg DD_13 | 12 | nr | 2395.35 | 28744.2
Female Changing Rooms - Refer to drawing BGY EOT_11-14
46 | Shower cubicle partition system doors only; timber veneer finish as dwg DD_13 | 11 | nr | 2397.94 | 26377.34
WC'S - BESPOKE MIRROR UNIT [FF-15]: Refer to Specification N10/136 & BGY WC & EOT Series drawings for dimensions and BGY WC_20 for details
Bespoke mirror unit with exposed mild steel section to office WC's and EOT facilities. To include clear mirror sheets and mirror-backed fluted glass sheets. LED strip lighting to bottom of unit. Linear vertical light fitting with metal shade in Rimex Bronze Stain Stainless finish as per specification K13:109. Refer to drawing WC_20 for details.
Basement EOT area
Male Changing Rooms - Refer to drawing BGY EOT_0104
47 | Bespoke mirror unit FF-15 circa 4150 x 1050mm; Refer to dwg EOT_04 detail 1 & 2 | 2 | nr | 11804.82 | 23609.64
48 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | Item | 586.55 | 586.55
Female Changing Rooms - Refer to drawing BGY EOT_11-14
49 | Bespoke mirror unit FF-15 circa 2600 x 1050mm; Refer to dwg EOT_12&13 | 2 | nr | 8177.94 | 16355.88
50 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | Item | 391.03 | 391.03
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
51 | Bespoke mirror unit FF-15. circa 1590mm x 1075mm; Refer to dwg WC_11 detail 4 | 1 | nr | 6096.19 | 6096.19
52 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | Item | 195.52 | 195.52
Female WC - Refer to drawing BGY WC_10 & WC_12
53 | Bespoke mirror unit FF-15. circa 2960mm x 1075mm; Refer to dwg 12 detail 2 | 1 | nr | 10098.88 | 10098.88
54 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | Item | 293.27 | 293.27
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
55 | Bespoke mirror unit FF-15. circa 4330mm x 1070mm; Refer to dwg 02 detail 1 | 5 | nr | 13709.94 | 68549.7
56 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | Item | 1955.16 | 1955.16
Female WC - Refer to BGY drawings WC_03 & WC_04
57 | Bespoke mirror unit FF-15. circa 5700mm x 1075mm; Refer to dwg WC_04 detail 1 | 5 | nr | 17496.03 | 87480.15
58 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | Item | 2443.95 | 2443.95
59 | Bespoke mirror unit FF-15. circa 796mm x 1120mm; Refer to dwg WC_04 detail 2 | 5 | nr | 1526.73 | 7633.65
60 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | Item | Not applicable | Excluded
WC'S - CONCRETE SINK UNIT, OFFICE WC'S [SA-11]. Refer to Specification N10/141 & BGY drawing WC_30
Bespoke pre-cast concrete wash-hand basins with liner slot drains. Unit to include integrated bin units and splashbacks, polished finish. Units to be fully supported via sub-carcass or with gallow-type brackets.
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
61 | Bespoke sink unit SA-11. circa 1590mm x 500mm x 400mm | 1 | Item | 7568.82 | 7568.82
62 | Bespoke sink unit SA-11. circa 796mm x 500mm x 400mm | 1 | Item | 5019.56 | 5019.56
63 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 3 | nr | 285.85 | 857.55
64 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 3 | nr | 486.47 | 1459.41
65 | Integrated waste bin into sink unit assumed specification | 3 | nr | 209.48 | 628.44
Female WC - Refer to drawing BGY WC_10 & WC_12
66 | Bespoke sink unit SA-11. circa 2960mm x 500mm x 400mm | 1 | Item | 10919.73 | 10919.73
67 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 3 | nr | 263.22 | 789.66
68 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 4 | nr | 515.52 | 2062.08
69 | Integrated waste bin into sink unit assumed specification | 3 | nr | 209.48 | 628.44
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
70 | Bespoke sink unit SA-11 circa 4330mm x 500mm x 400mm (5nr Floors) | 5 | nr | 13057.33 | 65286.65
71 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 20 | nr | 263.22 | 5264.4
72 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 30 | nr | 515.52 | 15465.6
73 | Integrated waste bin into sink unit assumed specification | 20 | nr | 209.48 | 4189.6
Female WC - Refer to BGY drawings WC_03 & WC_04
74 | Bespoke sink unit SA-11. circa 5700mm x 500mm x 400mm (5nr Floors) | 5 | nr | 17895.27 | 89476.35
75 | Bespoke sink unit SA-11 to accessible area. circa 796mm x 500mm x 400mm | 5 | nr | 5119.27 | 25596.35
76 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 30 | nr | 263.22 | 7896.6
77 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 45 | nr | 520.92 | 23441.4
78 | Integrated waste bin into sink unit assumed specification | 30 | nr | 209.48 | 6284.4
WC'S - BELOW SINK UNIT, TIMBER VENEER [FF-16]: Refer to Specification N10/143 & BGY EOT & WC_Series drawing and WC_30 for typical detail.
Timber veneer below sink unit to match clause K13/121 American Walnut. Thick solid lipping to edging to match veneer. Unit to accommodate soap storage/ reservoir serving tap dispenser and incorporate drawers with push-to-open mechanisms
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
79 | Below sink unit FF-16. circa 1590mm x 500mm x 400mm | 1 | Item | 3262.87 | 3262.87
80 | Below sink unit FF-16. circa 796mm x 500mm x 400mm | 1 | Item | 1875.06 | 1875.06
Female WC - Refer to drawing BGY WC_10 & WC_12
81 | Below sink unit FF-16. circa 2960mm x 500mm x 400mm | 1 | Item | 5344.15 | 5344.15
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
82 | Below sink unit FF-16 circa 4330mm x 500mm x 400mm (5nr floors) | 5 | nr | 7638.02 | 38190.1
Female WC - Refer to BGY drawings WC_03 & WC_04
83 | Below sink unit FF-16. circa 5700mm x 500mm x 400mm (5nr Floors) | 5 | nr | 9817.21 | 49086.05
84 | Below sink unit FF-16 to accessible area. circa 796mm x 500mm x 400mm (5nr floors) | 5 | nr | 1875.06 | 9375.3
WC'S - BESPOKE PRIVACY SCREEN BETWEEN URINALS [FF-14]. Refer to Specification N10/144 and BGY drawing WC_02
Profiled timber sub frame wrapped in metal sheeting witch bronze finish to match specification K13/109
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
85 | Divider units between urinals: FF-14, circa 260mm x 840mm | 20 | nr | 1082.9 | 21658
GLASS MIRRORS - ALL FLOORS [FF-17 & FF-19]. Refer to Specification L40/555 & BGY WC_Series drawings
Float glass, silvered to give maximum reflection, 6mm thick, aluminium foil backing, polished arris edge treatment
Basement EOT Area
86 | Wall surface mirror to EOT WC cubicles and accessible shower, circa 480mm x 1600mm. Refer to drawing EOT_50 & 90 for details | 5 | nr | 1144.27 | 5721.35
87 | 2nr Feature mirror to wall including allowance for framing (FF-17) | 1 | item | 944.76 | 944.76
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
88 | Wall Surface Mirror FF-19 circa. 796mm x 1120mm | 1 | nr | 1117.48 | 1117.48
89 | Mirror to west wall, circa 790mm x 2550mm | 1 | nr | 272.67 | 272.67
Accessible Toilet - Refer to drawing BGY WC_10 & WC_13
90 | Wall Surface Mirror FF-19 circa. 500mm x 1630mm | 1 | nr | 1206.37 | 1206.37
91 | Mirror to south wall, circa 790mm x 2550mm | 1 | nr | 272.67 | 272.67
Reception WC - Refer to drawing BGY RE_38
91 | Wall Surface Mirror FF-19 circa. 500mm x 1560mm | 1 | nr | 108.92 | 108.92
93 | AWC Wall Surface Mirror FF-19 circa. 500mm x 1560mm | 1 | nr | 108.92 | 108.92
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
94 | Mirror to east wall, circa 1210mm x 2500mm | 5 | nr | 403.77 | 2018.85
Female WC - Refer to BGY drawings WC_03 & WC_04
95 | Mirror to west wall, circa 790mm x 2420mm | 5 | nr | 258.95 | 1294.75
Accessible Toilet - Refer to BGY drawing WC_05
96 | Wall Surface Mirror FF-19 circa. 500mm x 1630mm | 5 | nr | 257.69 | 1288.45
MIRROR WITH INTEGRATED TV & CLOCK [FF-31]. Refer to Specification N10 & BGY EOT_Series drawings.
Basement - Male Changing Rooms
97 | Mirror with integrated TV & clock (by others). Refer to dwg EOT_03 detail 2 | 1 | Item | 896.39 | 896.39
Basement - Female Changing Rooms
98 | TV and clock (by others) to be integrated into timber wall panelling; Refer to dwg EOT_13 detail 2 | 1 | Item | 852.29 | 852.29
EOT AREA - LOCKERS [FF-32]. Refer to Specification N10/158 & BGY EOT_Series drawings & BGY_80
Maxwood Oracle Z lockers with integrated bench, size 1500 x 302mm, electronic lock mechanism, engraved laminated plastic number disc, moulded coat hook to each compartment, aluminium extended anti-finger hinge. Locker doors to be 10mm solid grade laminate, with radiused, polished and rounded corners. Locker shelves to be high strength polymer with incorporated ventilation holes.
99 | Double stacked lockers to male and female changing rooms - Refer to drawing BGY EOT_01-04 & , 11-1. Refer to EOT_80 for details. | 230 | nr | 513.36 | 118072.8
100 | Solid timber bench, stained to match specification K13:121 supported by mild steel integral bench and locker frame concealed by plasterboard | 34 | m | 629.47 | 21401.98
EOT AREA - BUILT-IN SHELVES & CUPBOARD UNIT [FF-21]. Refer to Specification N10/146 & BGY EOT_Series drawings
Clean towel storage station with dirty towel bins integrated into base of unit. Solid timber/ oak with colour wash bench top. Timber/ oak veneer door fronts with colour wash. To include bronze detailing to integrated door signage
101 | Male Changing Rooms - Refer to drawing BGY EOT_01-04 & EOT_40 | 1 | Item | 19040.72 | 19040.72
102 | Female Changing Rooms - Refer to drawing BGY EOT_01-04 & EOT_40 | 1 | Item | 24475.55 | 24475.55
EOT AREA - HAIRDRYER & STRAIGHTENERS UNIT [FF-22]. Refer to Specification N10/147 & BGY EOT_Series drawings
Pre-cast concrete unit to hold hairdryers & straighteners, units to be fully supported either via sub-carcass or through the use of gallow-type brackets
Male Changing Rooms - Refer to drawing BGY EOT_01, 02 & 03
103 | Hair drying/ straighteners unit FF-22. circa 4150mm x 500mm x 400mm
|  | 1 | Item | 9541.9 | 9541.9
Female Changing Rooms - Refer to drawing BGY EOT_11, 12 & 13
104 | Hair drying/ straighteners unit FF-22 circa 2600mm x 500mm x 400mm | 1 | Item | 9347.07 | 9347.07
EOT AREA - IRONING BOARD LOCKER UNIT [FF-23]. Refer to Specification N10/148 & BGY EOT_Series drawings
Bespoke maxwood full-height locker with integrated fold-down ironing board unit. Finish to match locker in clause 158.
105 | Male Changing Rooms - Refer to drawing BGY EOT_01-04 | 1 | nr | 1500.46 | 1500.46
106 | Female Changing Rooms - Refer to drawing BGY EOT_11-14 | 1 | nr | 1500.46 | 1500.46
EOT AREA - RAIL FOR DRYING ROOM [FF-30]. Refer to Specification N10/159 & BGY EOT_Series drawings
107 | Heavy duty hanging clothes/ garment rail, finished in black | 1 | Item | Details? | Excluded
EOT AREA - BENCH IN SHOWER ROOMS [FF-01]. Refer to Specification N10/162
108 | Timber veneer bench to match specification K13/121 or 122 | 23 | nr | 754.88 | 17362.24
WC'S - CONCRETE SINK WORKTOP & SPLASHBACK, EOT AREA [SA-10]. Refer to Specification N10/140 & BGY EOT Series drawings
Bespoke concrete vanity unit with under mounted sinks, unit to include integrated bin units and splash backs. Units to be fully supported either via sub-carcass or through the use of gallow-type brackets
Basement EOT area
Male Changing Rooms - Refer to drawing BGY EOT_01, 02 & 03
109 | Bespoke sink unit SA-10. circa 4150mm x 500mm x 400mm | 4 | nr | 3139.81 | 12559.24
110 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 3 | nr | 240.6 | 721.8
111 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 4 | nr | 470.26 | 1881.04
112 | Integrated waste bin into sink unit assumed specification | 3 | nr | 209.48 | 628.44
Female Changing Rooms - Refer to drawing BGY EOT_11, 12 & 13
113 | Bespoke sink unit SA-10. circa 2600mm x 500mm x 400mm | 3 | nr | 3473.3 | 10419.9
114 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 2 | nr | 240.6 | 481.2
115 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 3 | nr | 486.47 | 1459.41
116 | Integrated waste bin into sink unit assumed specification | 2 | nr | 209.48 | 418.96
WC'S - BELOW SINK UNIT, TIMBER VENEER [FF-16]: Refer to Specification N10/143 & BGY EOT & WC_Series drawing and WC_30 for typical detail.
Timber veneer below sink unit to match clause K13/121 American Walnut. Thick solid lipping to edging to match veneer. Unit to accommodate soap storage/ reservoir serving tap dispenser and incorporate drawers with push-to-open mechanisms
Basement EOT area
Male Changing Rooms - Refer to drawing BGY EOT_01, 02 & 03
117 | Below sink unit FF-16. circa 4150mm x 500mm x 400mm | 1 | item | 5832.2 | 5832.2
Female Changing Rooms - Refer to drawing BGY EOT_11, 12 & 13
118 | Below sink unit FF-16. circa 2600mm x 500mm x 400mm | 1 | item | 4011.73 | 4011.73
Fixtures and Fitting: Refer to 1069_sA-01_Sanitary Schedule Revision T2 and BGY WC & EOT Series drawings.
119 | Waterfront wall mounted toilet brush to all WC's, finish black [SA-35] | 89 | nr | 73.54 | 6545.06
120 | Waterfront double post mount single roll holder to all WC's, finish black [SA-34] | 89 | nr | 55.01 | 4895.89
121 | Wall mounted spare roll holder to all WC's, finish black [SA-39] | 89 | nr | 53.62 | 4772.18
122 | Matki one pivot for recess shower screen to basement changing rooms, size to match opening [SA-22] | 23 | nr | 884.08 | 20333.84
123 | Lift support rail to accessible WC, Satin stainless steel double arm hinged disabled cantilever rail, size 760mm, refinished in RAL9005 black [SA-41] | 8 | nr | 219.47 | 1755.76
124 | Satin stainless steel grab rail c/w, 2 laser cut 60 x 3mm diameter thrust roses. Supplied with raw plug fixing, size 600mm x 32mm, refinished in RAL9005 Black [SA-41] | 64 | nr | 179.51 | 11488.64
125 | Satin stainless steel backrest c/w 2 laser cut 60 x 3mm diameter thrust roses. Supplied with raw plug fixing, size 400mm x 32mm, refinished in RAL9005 Black [SA-41] | 7 | nr | 179.51 | 1256.57
126 | Robe hook to cubicles (SA-38) | 48 | nr | 36.7 | 1761.6
`
127 | Robe hook to changing rooms to timber veneer wall panel(SA-38) | 7 | nr | 36.7 | 256.9
128 | 3v FMB coat hook 45mm x 16mm dia to cubicles, refer to specification CT0819-01-I [SA-38] | 88 | nr | 36.7 | 3229.6
129 | JT Fushion Rectangle shower tray. Concealed waste, Tray with upstand; 1100W x 800D [SA-21] | 23 | nr | By others
Doors
Supply and install timber doors, including ironmongery as per the following breakdown.
Internal Doors, Timber Doors, Veneer Finish as per specification K13/121 or 122 to both sides. TS Reference: DRS-A1, A2, A3, A4, A7 & A8. Refer to Specification L20/205 & type 'A' doors as per BGY drawings DD_01, 02 & 03. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
Basement
130 | DRS-A1: Timber veneer finish door and ironmongery with pull handles and push plates. size 910mm x 2300mm. Refer to BGY DD_01. | 3 | nr | Refer summary page
131 | DRS-A1: Timber veneer finish door and ironmongery with pull handles and push plates. 44mm solid core for FD30/FD30s size 910mm x 2300mm. Refer to BGY DD_01. | 4 | nr | Refer summary page
132 | DRS-A1: Timber veneer finish door and ironmongery with pull handles and push plates. 54mm solid core for FD60/FD60s size 910mm x 2300mm. Refer to BGY DD_01. | 1 | nr | Refer summary page
133 | DRS-A2: Timber veneer finish double door and ironmongery with pull handles and push plates. size 1820mm x 2300mm. Refer to BGY DD_01. | 1 | nr | Refer summary page
134 | DRS-A2: Timber veneer finish double door and ironmongery with pull handles and push plates. 44mm solid core for FD30/FD30s. size 1820mm x 2300mm. Refer to BGY DD_01. | 1 | nr | Refer summary page
135 | DRS-A2: Timber veneer finish double door and ironmongery with pull handles and push plates. 54mm solid core for FD60/FD60s. size 1820mm x 2300mm. Refer to BGY DD_01. | 2 | nr | Refer summary page
136 | DRS-A3: Timber veneer finish door and ironmongery with lever handles PPC black finish. size 910mm x 2300mm. Refer to BGY DD_02. | 4 | nr | Refer summary page
137 | DRS-A3: Timber veneer finish door and ironmongery with lever handles PPC black finish. size 910mm x 2300mm. 44mm solid core for FD30/FD30s. Refer to BGY DD_02. | 2 | nr | Refer summary page
138 | DRS-A3: Timber veneer finish door and ironmongery with lever handles PPC black finish. size 910mm x 2300mm. 54mm solid core for FD60/FD60s. Refer to BGY DD_02. | 1 | nr | Refer summary page
139 | DRS-A4: Timber veneer Cleaner cupboard double door and ironmongery, lever handles PPC black finish. 44mm solid core doors for FD30/FD30s, size 2200mm x 2300mm. Refer to BGY DD_02. | 1 | nr | Refer summary page
140 | DRS-A5: Timber veneer Disabled WC door and ironmongery, lever handles PPC black finish with pull handles and push plates. size 1110 x 2300mm. Refer to BGY DD_02. | 1 | nr | Refer summary page
Ground Floor
141 | DRS-A1: Timber veneer finish door and ironmongery with pull handles and push plates. size 910mm x 2300mm. Refer to BGY DD_01. | 9 | nr | Refer summary page
142 | DRS-A5: Timber veneer Disabled WC door and ironmongery, lever handles PPC black finish with pull handles and push plates. size 1110 x 2300mm. Refer to BGY DD_02. | 2 | nr | Refer summary page
Typical Floor - Floor 1 to 5
143 | DRS-A7: Timber veneer Core door and ironmongery with over-panel, pull handle & push plate; size 1010mm x 2700mm. Refer to BGY DD_03. | 10 | nr | Refer summary page
144 | DRS-A7: Timber veneer Core door and ironmongery with over-panel, pull handle & push plate. 44mm solid core door for FD30/FD30s, size 1010mm x 2700mm. Refer to BGY DD_03. | 15 | nr | Refer summary page
145 | DRS-A7: Timber veneer Core door and ironmongery with over-panel, pull handle & push plate. 54mm solid core door for FD60/FD60s, size 1010mm x 2700mm. Refer to BGY DD_03. | 10 | nr | Refer summary page
146 | DRS-A4: Timber veneer Cleaner cupboard double door and ironmongery, lever handles PPC black finish. 44mm solid core doors for FD30/FD30s, size 2200mm x 2300mm. Refer to BGY DD_02. | 10 | nr | Refer summary page
147 | DRS-A8: Timber veneer Disabled WC door and ironmongery with over-panel, Lever handles Plc. black finish. 44mm core doors for FD30/FD30s, size 1110mm x 2700mm. Refer to BGY DD_03. | 5 | nr | Refer summary page
TIMBER DOORS, PAINTED FINISH, - TS reference DRS-B1, B2 & B5. Refer to Specification L20/206 & type 'B' doors as per BGY drawings DD_04. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
Basement
148 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. Size 910mm x 2300mm. Refer to drawing DD_04 | 4 | nr | Refer summary page
149 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. 44mm solid core doors for FD30/FD30s. Size 910mm x 2300mm. Refer to drawing DD_04 | 5 | nr | Refer summary page
150 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. 54mm solid core doors for FD120/FD120s. Size 910mm x 2300mm. Refer to drawing DD_04 | 1 | nr | Refer summary page
151 | DRS-B2: Timber double door and ironmongery painted finish with lever handle both sides of 1 no. door leaf with Satin SS finish. Vision panel if required. 44mm solid core doors for FD30/FD30s. Size 1610mm x 2300mm. Refer to drawing DD_04 | 4 | nr | Refer summary page
152 | DRS-B2: Timber double door and ironmongery painted finish with lever handle both sides of 1 no. door leaf with Satin SS finish. Vision panel if required. 54mm solid core doors for FD120/FD120s. Size 1610mm x 2300mm. Refer to drawing DD_04 | 4 | nr | Refer summary page
153 | DRS-B5: Timber double doors and ironmongery painted finish with pull handles & push plates satin SS finish, vision panel to both doors. Size 1610mm x 2300mm. Refer to drawing DD_05. | 2 | nr | Refer summary page
154 | DRS-B5: Timber double doors and ironmongery painted finish with pull handles & push plates satin SS finish, vision panel to both doors. 44mm solid core doors for FD30/FD30s. Size 1610mm x 2300mm. Refer to drawing DD_05. | 2 | nr | Refer summary page
155 | DRS-B5: Timber double doors and ironmongery painted finish with pull handles & push plates satin SS finish, vision panel to both doors. 54mm solid core doors for FD60/FD60s. Size 1610mm x 2300mm. Refer to drawing DD_05. | 1 | nr | Refer summary page
Ground Floor
156 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. Size 910mm x 2300mm. Refer to drawing DD_04 | 1 | nr | Refer summary page
157 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. 44mm solid core doors for FD30/FD30s. Size 910mm x 2300mm. Refer to drawing DD_04 | 3 | nr | Refer summary page
158 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. 54mm solid core doors for FD60/FD60s. Size 910mm x 2300mm. Refer to drawing DD_04 | 2 | nr | Refer summary page
159 | DRS-B5: Timber double doors and ironmongery painted finish with pull handles & push plates satin SS finish, vision panel to both doors. 54mm solid core doors for FD60/FD60s. Size 1610mm x 2300mm. Refer to drawing DD_05. | 1 | nr | Refer summary page
SHOWER ROOM DOORS - TS ref DRS-F. Timber veneer finish to match K13/121 or 122. Refer to Specification L20/209 & type 'F' door as per BGY drawing DD_13. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
160 | DRS-G shower room door and ironmongery to cubicle, flush door leaf with timber veneer finish. 2 no coat hooks, WC indicator with leaver handle and shower room symbol bonded to door. Size 710mm x 2400mm. Refer to drawing DD_13 | 23 | nr | Refer summary page
DRY RISER CUPBOARD DOORS: Timber veneer as per specification K13/121 or 122 to both sides. TS ref: DRS-G. Refer to Specification L20/211 & type 'G' door to dry riser cupboard as per BGY drawing DD_14. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
161 | Timber veneer dry riser door with signage and lock. Size 520mm x 1015mm. Refer to drawing DD_14. | 12 | nr | Refer items 45 & 46
SMOKE EXTRACT DOORS: Timber veneer as per Specification K13/121 or 122 to both sides with Automatic opening vent. TS ref: DRS-H. Refer to Specification L20/212 & type 'H' door to smoke extract shaft as per BGY drawing DD_15. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
162 | Timber veneer smoke extract shaft door with signage. Size 520mm x 1200mm. Refer to drawing DD_15 | 11 | nr | Refer summary page
GROUND FLOOR CORE DOORS: Reception lift lobby doors, metal cladding bonded to door with bronze Stain Stainless finish. TS ref: DRS-J. Refer to Specification L20/213 & type 'J' door as per BGY drawing DD_17. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
163 | Reception lift lobby door DG.02 with vison panel fire rated glass | 1 | Item | Refer summary page
164 | Reception lift lobby door DG.03 | 1 | Item | Refer summary page
CONCEALED DOOR IN RECEPTION: Profile plaster wall panel fixed to timber door, profile plaster over panel, bottom of door to be clad in granite tiles, 5mm thick bronze reveals to jambs and sides of door leaf, bronze plate door pull ironmongery, painted finish. Refer to specification L20/220 & BGY drawing RE_23. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
165 | Concealed reception door DG.42. Size 830mm x 2500mm | 1 | Item | Refer summary page
RECEPTION FITTING - FRAMED MIRROR ARTWORK [FF-12]. Refer to Specification N10/120 & BGY RE_Series drawings
166 | Framed mirror artwork to reception lobby wit 40x40mm bronze frame, refer to drawing RE_34 detail 5 | 1 | Item | 12630.91 | 12630.91
TIMBER WALL CLADDING [RFS-18]. Refer to Specification K13/121 or122 BGY drawings RF_08, 24 & 25
167 | Timber cladding to stair 3 walls, wood veneered panel lining as per option 1, wood species to be American Walnut plywood or acceptable alternative, fire retardant impregnation treatment to achieve class 0 rating | 42 | m2 | 725.11 | 30454.62
168 | E.O. for timber clad access hatch adjacent to platform lift overrun | 1 | Item | Not applicable? | Excluded
SKIRTING BOARDS - PAINTED TIMBER [SK-04] - Refer to Specification P20/195 & BGY ST_02, 03 & 04
169 | Hardwood timber skirting to new build stair all floors, to include mitred internal and external corner joints, 15mm thick. X 100mm high, approximate quantityt | 1 | Item | 40.42 | 40.42
170 | Flush skirting to café, painted to match wall colour, with 10mm shadow gap, refer to BGY drawing RE_13 & RE_14 100 x 15 mm approximate quantity | 1 | Item | 40.42 | 40.42
171 | Timber skirting / kickboard under towel storage; Refer to dwg EOT_40 detail 1 & 2 | 10 | m2 |  | Included
SKIRTING BOARDS - MDF (B.O.H. Areas) [SK-01] - Refer to Specification P20/202 and BGY drawing WF_00
172 | MDF Skirting Boards to B.O.H. areas; 15mm thick; Refer to dwg WF_00 | 150 | m | 13.23 | 1984.5
Reception Bench Seating with removable upholstered cushion on a plywood substrate with steel framing for support as per BGY Architects N10 Specification. Refer to Drawing no. 1069_RE-21 [Option 1]
173 | Bench seating TS ref FF-05; circa 10m; Plywood substrate attached to steel frame support. Include for removable upholstered cushion fixed to bench with Velcro. Refer to drawing RE_21 detail 4 & 5. | 3 | nr | 6795.15 | 20385.45
WINDOW BOARDS - MDF - Refer to Specification P20/205
174 | P/board to soffit & side walls; painted timber cills; 15mm thick, depth to suit opening with 25mm projection, Refer to drawing WF_00 & FA_03 detail 2, FA_36 detail 2 & FA_37 detail 4 | 123 | m | 30.91 | 3801.93
RECEPTION FITTING - PLANTER BOXES [FF-09] - Refer to Specification N10/119 & BGY RE_Series drawings
175 | Metal planters with aged brass finish to reception | 4 | nr | 2924.45 | 11697.8
176 | Metal planter with aged brass finish to café stair | 1 | nr | 3208.61 | 3208.61
INTERNAL CLADDING, SUPPORT SYSTEM - RECEPTION [IW-40]. Refer to Specification K13/135 and BGY RE_Series Drawings
177 | Support system for internal cladding, reception wall panelling, include hand brackets and rails, fixed back to steel frame or concrete. | 1 | Item | Omitted | Excluded
Divider Unit bespoke joinery item - Timber-clad carcass with 2 No. vertical uprights/ dividers. Profiled timber cladding to 4 sides of base with painted bronze top. Bronze skirting to base of timber cladding as per BGY Architects N10 Specification. Refer to Drawing no. 1069 RE_41 T1.
178 | Divider Unit TS ref FF-03 circa. 3830mm x 440mm x 630mm; Refer to dwg RE_41 | 1 | Item | 17191.75 | 17191.75
High Table bespoke joinery item with steel frame supporting timber veneer table-top. Edge of table to include solid timber edge lipping, to match top, with pencil round edges. 6 No. Buster + Punch 2G UK plug sockets, with USB, smocked bronze finish and plastic back box. Steel table legs clad in patinated bronze sheet cladding. electrical junction box in floor as per BGY Architects N10 Specification. Refer to Drawing no. 1069_RE-42
179 | High table TS ref FF-04 circa 3500mm x 1800mm x 1050mm | 1 | Item | 14783.04 | 14783.04
Reception Desk bespoke joinery item with Aged Brass finish. Forbo desktop linoleum, flush with brass finish worktop area. Timber framework and mild steel brackets fabricated from T sections. Oak veneer faced doors and shelves. Moving legs with integral motors as per BGY Architects N10 Specification. Refer to Drawing no. 1069-RE_40 T1.
180 | Reception Desk TS ref FF-02; Refer to dwg 40 for details | 1 | Item | 45249.25 | 45249.25
Bespoke timber window ledge. Solid hardwood with mild steel frames as per BGY Architects Specification N10. Refer to BGY RE_37 drawings.
181 | Solid hardwood Window ledge seating with steel framing TS ref FF-06; Refer to dwg RE_37 for details [North] | 1 | Item | 6002.26 | 6002.26
182 | Solid hardwood Window ledge seating with steel framing TS ref FF-06; Refer to dwg RE_37 for details [West] | 1 | Item | 6002.26 | 6002.26
Counter/ Bar with patinated bronze finish to worktop. Profiled timber cladding with solid timber battens. Adjustable supports on internal face of carcass. Removable tubular metel legs. Integrated top plate; finish to match glazed screen frame. Adjustable timber veneer shelf with solid timber nosings to bar. Carcass to be painted MDF as per BGY Architects N10 Specification. Refer to Drawings no. 1069_RE-43, 44 & 45.
183 | Counter Bar circa 6995mm x 700mm x 950mm TS ref FF-07 | 1 | Item | 53573.9 | 53573.9
184 | Counter Preperation Worktop circa 6995mm x 700mm x 950mm TS ref FF-07 | 1 | Item | Refer above
Granite Bench and Ledge to reception area. Refer to Drawing no. 1069_RE_01
185 | Granite bench circa 3400mm x 600mm; Refer to dwg RE_01 for location | 1 | nr | Details? | Excluded
186 | Granite ledge approx circa 10m; Refer to dwg RE_01 for location | 1 | nr | Details? | Excluded
Additional Items
180 | Solid timber benchtop to accessible shower as per drawing EOT_90 | 1 | Item | 575.02 | 575.02
181 | Allowance for fitting out cleaners cupboard | 1 | Item | Details? | Excluded
182 | Allowance for samples as per the specifications | 1 | Item |  | Included
183 | Allowance for mock ups | 1 | Item | Details? | Excluded
184 | Filtered water tap & chiller unit. Refer to dwg EOT_02 detail 1, EOT_12 detail 1 & EOT_14 detail 3 and EOT_40 for typical details | 2 | nr | Details? | Excluded
1690997.05

## Door schedule
BAM - CANNON STREET
DOORSET SUMMARY
DOOR
NR | TYPE | MATERIAL | Q | RATE | TOTAL
DB.01 | A3 | 0 | 1 | 2070.52 | 2070.52
DB.02 | A3 | 0 | 1 | 1726.3 | 1726.3
DB.03 | A1 | 0 | 1 | 1950.67 | 1950.67
DB.04 | A1 | 0 | 1 | 2469.31 | 2469.31
DB.05 | B1 | 0 | 1 | 903.35 | 903.35
DB.06 | B1 | 0 | 1 | 903.35 | 903.35
DB.07 | B1 | 0 | 1 | 903.35 | 903.35
DB.08 | B5 | 0 | 1 | 2429.72 | 2429.72
DB.09 | B5 | 0 | 1 | 1891 | 1891
DB.10 | B5 | 0 | 1 | 1891 | 1891
DB.11 | B1 | 0 | 1 | 1173.01 | 1173.01
DB.12 | B2 | 0 | 1 | 1906.37 | 1906.37
DB.13 | B1 | 0 | 1 | 1173.01 | 1173.01
DB.14 | B5 | 0 | 1 | 2526.28 | 2526.28
DB.15 | B2 | 0 | 1 | 1547.79 | 1547.79
DB.16 | B2 | 0 | 1 | 1906.37 | 1906.37
DB.17 | B2 | 0 | 1 | 1906.37 | 1906.37
DB.18 | B1 | 0 | 1 | 907.13 | 907.13
DB.19 | B5 | 0 | 1 | 1891 | 1891
DB.20 | OMITTED | 0 | 0 | 0 | 0
DB.21 | B2 | 0 | 1 | 1906.37 | 1906.37
DB.22 | B2 | 0 | 1 | 1906.37 | 1906.37
DB.23 | B1 | 0 | 1 | 1173.01 | 1173.01
DB.24 | B2 | 0 | 1 | 1906.37 | 1906.37
DB.25 | B2 | 0 | 1 | 1906.37 | 1906.37
DB.26 | B1 | 0 | 1 | 1173.01 | 1173.01
DB.27 | B2 | 0 | 1 | 1906.37 | 1906.37
DB.28 | B1 | 0 | 1 | 1460.84 | 1460.84
DB.29 | A3 | 0 | 1 | 2070.52 | 2070.52
DB.30 | A2 | 0 | 1 | 4026.63 | 4026.63
DB.31 | A5 | 0 | 1 | 1757.23 | 1757.23
DB.32 | A1 | 0 | 1 | 1566.6 | 1566.6
DB.33 | A1 | 0 | 1 | 2227.31 | 2227.31
DB.34 | A1 | 0 | 1 | 1996.17 | 1996.17
DB.35 | A1 | 0 | 1 | 2227.31 | 2227.31
DB.36 | A1 | 0 | 1 | 1520.32 | 1520.32
DB.37 | A3 | 0 | 1 | 1458.6 | 1458.6
DB.38 | A3 | 0 | 1 | 1458.6 | 1458.6
DB.39 | F | 0 | 1 | 0 | 0 | Shower door
DB.40 | F | 0 | 1 | 0 | 0 | Shower door
DB.41 | F | 0 | 1 | 0 | 0 | Shower door
DB.42 | F | 0 | 1 | 0 | 0 | Shower door
DB.43 | F | 0 | 1 | 0 | 0 | Shower door
DB.44 | F | 0 | 1 | 0 | 0 | Shower door
DB.45 | F | 0 | 1 | 0 | 0 | Shower door
DB.46 | F | 0 | 1 | 0 | 0 | Shower door
DB.47 | F | 0 | 1 | 0 | 0 | Shower door
DB.48 | F | 0 | 1 | 0 | 0 | Shower door
DB.49 | F | 0 | 1 | 0 | 0 | Shower door
DB.50 | A1 | 0 | 1 | 1520.32 | 1520.32
DB.51 | A4 | 0 | 1 | 1658.38 | 1658.38
DB.52 | A3 | 0 | 1 | 1458.6 | 1458.6
DB.53 | A3 | 0 | 1 | 1458.6 | 1458.6
DB.54 | F | 0 | 1 | 0 | 0 | Shower door
DB.55 | F | 0 | 1 | 0 | 0 | Shower door
DB.56 | F | 0 | 1 | 0 | 0 | Shower door
DB.57 | F | 0 | 1 | 0 | 0 | Shower door
DB.58 | F | 0 | 1 | 0 | 0 | Shower door
DB.59 | OMITTED | 0 | 0 | 0 | 0
DB.60 | F | 0 | 1 | 0 | 0 | Shower door
DB.61 | F | 0 | 1 | 0 | 0 | Shower door
DB.62 | F | 0 | 1 | 0 | 0 | Shower door
DB.63 | F | 0 | 1 | 0 | 0 | Shower door
DB.64 | F | 0 | 1 | 0 | 0 | Shower door
DB.65 | F | 0 | 1 | 0 | 0 | Shower door
DB.66 | F | 0 | 1 | 0 | 0 | Shower door
DB.67 | A2 | 0 | 1 | 3850.64 | 3850.64
DB.68 | A2 | 0 | 1 | 4026.63 | 4026.63
DB.69 | A3 | 0 | 1 | 1757.23 | 1757.23
DB.70 | A1 | 0 | 1 | 1788.69 | 1788.69
DB.71 | UKPN | 0 | 0 | 0 | 0 | By others
DB.72 | UKPN | 0 | 0 | 0 | 0 | By others
DB.73 | A3 | 0 | 1 | 1528.04 | 1528.04
DB.74 | G | 0 | 1 | 668.39 | 668.39
EX-DB.01 | (External) | 0 | 0 | 0 | 0 | By others
EX-DB.02 | (External) | 0 | 0 | 0 | 0 | By others
DG.01 | E2 | 0 | 0 | 0 | 0 | By others
DG.02 | A1 | 0 | 1 | 1601.44 | 1601.44
DG.03 | A1 | 0 | 1 | 2182.41 | 2182.41
DG.04 | A1 | 0 | 1 | 1950.67 | 1950.67
DG.05 | D2 | 0 | 1 | 1071.93 | 1071.93
DG.06 | D2 | 0 | 1 | 1071.93 | 1071.93
DG.07 | D2 | 0 | 1 | 1071.93 | 1071.93
DG.08 | A5 | 0 | 1 | 1592.86 | 1592.86
DG.09 | A1 | 0 | 1 | 1566.6 | 1566.6
DG.10 | A1 | 0 | 1 | 1566.6 | 1566.6
DG.11 | D2 | 0 | 1 | 1071.93 | 1071.93
DG.12 | D2 | 0 | 1 | 1121.89 | 1121.89
DG.13 | A1 | 0 | 1 | 1935.66 | 1935.66
DG.14 | B1 | 0 | 1 | 1247.87 | 1247.87
DG.15 | B5 | 0 | 1 | 2477.82 | 2477.82
DG.16 | B1 | 0 | 1 | 1454.89 | 1454.89
DG.17 | B1 | 0 | 1 | 1196.78 | 1196.78
DG.18 | A1 | 0 | 1 | 2227.31 | 2227.31
DG.19 | D2 | 0 | 1 | 1071.93 | 1071.93
DG.20 | D2 | 0 | 1 | 1142.3 | 1142.3
DG.21 | A1 | 0 | 1 | 2447.33 | 2447.33
DG.22 | G | 0 | 1 | 668.39 | 668.39
DG.23 | D2 | 0 | 1 | 1071.93 | 1071.93
DG.24 | D2 | 0 | 1 | 1071.93 | 1071.93
DG.25 | D2 | 0 | 1 | 1071.93 | 1071.93
DG.26 | D2 | 0 | 1 | 1071.93 | 1071.93
DG.27 | B1 | 0 | 1 | 1337.71 | 1337.71
DG.28 | H | 0 | 1 | 863.85 | 863.85
DG.29 | B1 | 0 | 1 | 1454.89 | 1454.89
DG.30 | B1 | 0 | 1 | 1096.81 | 1096.81
DG.31 | D2 | 0 | 1 | 1051.08 | 1051.08
DG.32 | A1 | 0 | 1 | 1788.69 | 1788.69
DG.33 | A1 | 0 | 1 | 1566.6 | 1566.6
DG.34 | D2 | 0 | 1 | 876.35 | 876.35
DG.35 | D2 | 0 | 1 | 1051.08 | 1051.08
DG.36 | A1 | 0 | 1 | 1566.6 | 1566.6
DG.37 | A1 | 0 | 1 | 1520.32 | 1520.32
DG.38 | 0 | 0 | 0 | 0 | 0 | Reception screen
DG.39 | 0 | 0 | 0 | 0 | 0 | Reception screen
DG.40 | 0 | 0 | 0 | 0 | 0 | Reception screen
DG.41 | 0 | 0 | 0 | 0 | 0 | Reception screen
DG.42 | (Special) | 0 | 1 | 3385.18 | 3385.18
DG.43 | D1 | 0 | 1 | 796.59 | 796.59
DG.44 | D1 | 0 | 1 | 796.59 | 796.59
DGWC.01 | 0 | 0 | 0 | 0 | 0 | WC cubicle
DGWC.02 | 0 | 0 | 0 | 0 | 0 | WC cubicle
DGWC.03 | 0 | 0 | 0 | 0 | 0 | WC cubicle
DGWC.04 | 0 | 0 | 0 | 0 | 0 | WC cubicle
DGWC.05 | 0 | 0 | 0 | 0 | 0 | WC cubicle
DGWC.06 | 0 | 0 | 0 | 0 | 0 | WC cubicle
EX-DG.01 | (External) | 0 | 0 | 0 | 0 | By others
EX-DG.02 | (External) | 0 | 0 | 0 | 0 | By others
EX-DG.03 | (External) | 0 | 0 | 0 | 0 | By others
EX-DG.04 | (External) | 0 | 0 | 0 | 0 | By others
EX-DG.05 | (External) | 0 | 0 | 0 | 0 | By others
EX-DG.06 | (External) | 0 | 0 | 0 | 0 | By others
EX-DG.07 | (External) | 0 | 0 | 0 | 0 | By others
EX-DG.08 | (External) | 0 | 0 | 0 | 0 | By others
EX-DG.09 | (External) | 0 | 0 | 0 | 0 | By others
EX-DG.10 | (External) | 0 | 0 | 0 | 0 | By others
EX-DG.11 | (External) | 0 | 0 | 0 | 0 | By others
EX-DG.12 | (External) | 0 | 0 | 0 | 0 | By others
D1.01 | E1 | 0 | 0 | 0 | 0 | By others
D1.02 | E1 | 0 | 0 | 0 | 0 | By others
D1.03 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.04 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.05 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.06 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.07 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.08 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.09 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.10 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.11 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.12 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.13 | A7 | 0 | 1 | 3332.91 | 3332.91
D1.14 | H | 0 | 1 | 769.31 | 769.31
D1.15 | A8 | 0 | 1 | 2443.42 | 2443.42
D1.16 | A7 | 0 | 1 | 2769.49 | 2769.49
D1.17 | A7 | 0 | 1 | 2810.52 | 2810.52
D1.18 | G | 0 | 1 | 694.14 | 694.14
D1.19 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.20 | A7 | 0 | 1 | 2218.28 | 2218.28
D1.21 | A4 | 0 | 1 | 1896.76 | 1896.76
D1.22 | A4 | 0 | 1 | 1896.76 | 1896.76
D1.23 | A7 | 0 | 1 | 2347.51 | 2347.51
D1.24 | D2 | 0 | 1 | 1071.93 | 1071.93
D1.25 | D2 | 0 | 1 | 1121.89 | 1121.89
D1.26 | A7 | 0 | 1 | 2769.49 | 2769.49
D1.27 | G | 0 | 1 | 694.14 | 694.14
D1.28 | H | 0 | 1 | 769.31 | 769.31
D1.29 | A7 | 0 | 1 | 2769.49 | 2769.49
D1WC.01 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.02 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.03 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.04 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.05 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.06 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.07 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.08 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.09 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.10 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.11 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.12 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.13 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D1WC.14 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2.01 | E1 | 0 | 0 | 0 | 0 | By others
D2.02 | E1 | 0 | 0 | 0 | 0 | By others
D2.03 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.04 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.05 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.06 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.07 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.08 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.09 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.10 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.11 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.12 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.13 | A7 | 0 | 1 | 3332.91 | 3332.91
D2.14 | H | 0 | 1 | 769.31 | 769.31
D2.15 | A8 | 0 | 1 | 2443.42 | 2443.42
D2.16 | A7 | 0 | 1 | 2769.49 | 2769.49
D2.17 | A7 | 0 | 1 | 2810.52 | 2810.52
D2.18 | G | 0 | 1 | 694.14 | 694.14
D2.19 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.20 | A7 | 0 | 1 | 2218.28 | 2218.28
D2.21 | A4 | 0 | 1 | 1896.76 | 1896.76
D2.22 | A4 | 0 | 1 | 1896.76 | 1896.76
D2.23 | A7 | 0 | 1 | 2347.51 | 2347.51
D2.24 | D2 | 0 | 1 | 1071.93 | 1071.93
D2.25 | D2 | 0 | 1 | 1121.89 | 1121.89
D2.26 | A7 | 0 | 1 | 2769.49 | 2769.49
D2.27 | G | 0 | 1 | 694.14 | 694.14
D2.28 | H | 0 | 1 | 769.31 | 769.31
D2.29 | A7 | 0 | 1 | 2769.49 | 2769.49
D2WC.01 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.02 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.03 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.04 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.05 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.06 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.07 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.08 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.09 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.10 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.11 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.12 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.13 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D2WC.14 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3.01 | E1 | 0 | 0 | 0 | 0 | By others
D3.02 | E1 | 0 | 0 | 0 | 0 | By others
D3.03 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.04 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.05 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.06 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.07 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.08 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.09 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.10 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.11 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.12 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.13 | A7 | 0 | 1 | 3332.91 | 3332.91
D3.14 | H | 0 | 1 | 769.31 | 769.31
D3.15 | A8 | 0 | 1 | 2443.42 | 2443.42
D3.16 | A7 | 0 | 1 | 2769.49 | 2769.49
D3.17 | A7 | 0 | 1 | 2810.52 | 2810.52
D3.18 | G | 0 | 1 | 694.14 | 694.14
D3.19 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.20 | A7 | 0 | 1 | 2218.28 | 2218.28
D3.21 | A4 | 0 | 1 | 1896.76 | 1896.76
D3.22 | A4 | 0 | 1 | 1896.76 | 1896.76
D3.23 | A7 | 0 | 1 | 2347.51 | 2347.51
D3.24 | D2 | 0 | 1 | 1071.93 | 1071.93
D3.25 | D2 | 0 | 1 | 1121.89 | 1121.89
D3.26 | A7 | 0 | 1 | 2769.49 | 2769.49
D3.27 | G | 0 | 1 | 694.14 | 694.14
D3.28 | H | 0 | 1 | 769.31 | 769.31
D3.29 | A7 | 0 | 1 | 2769.49 | 2769.49
D3WC.01 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.02 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.03 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.04 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.05 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.06 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.07 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.08 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.09 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.10 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.11 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.12 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.13 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D3WC.14 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4.01 | E1 | 0 | 0 | 0 | 0 | By others
D4.02 | E1 | 0 | 0 | 0 | 0 | By others
D4.03 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.04 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.05 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.06 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.07 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.08 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.09 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.10 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.11 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.12 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.13 | A7 | 0 | 1 | 3332.91 | 3332.91
D4.14 | H | 0 | 1 | 769.31 | 769.31
D4.15 | A8 | 0 | 1 | 2443.42 | 2443.42
D4.16 | A7 | 0 | 1 | 2769.49 | 2769.49
D4.17 | A7 | 0 | 1 | 2810.52 | 2810.52
D4.18 | G | 0 | 1 | 694.14 | 694.14
D4.19 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.20 | A7 | 0 | 1 | 2218.28 | 2218.28
D4.21 | A4 | 0 | 1 | 1896.76 | 1896.76
D4.22 | A4 | 0 | 1 | 1896.76 | 1896.76
D4.23 | A7 | 0 | 1 | 2347.51 | 2347.51
D4.24 | D2 | 0 | 1 | 1071.93 | 1071.93
D4.25 | D2 | 0 | 1 | 1121.89 | 1121.89
D4.26 | A7 | 0 | 1 | 2769.49 | 2769.49
D4.27 | G | 0 | 1 | 694.14 | 694.14
D4.28 | H | 0 | 1 | 769.31 | 769.31
D4.29 | A7 | 0 | 1 | 2769.49 | 2769.49
D4WC.01 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.02 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.03 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.04 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.05 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.06 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.07 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.08 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.09 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.10 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.11 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.12 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.13 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D4WC.14 | 0 | 0 | 0 | 0 | 0 | WC cubicle
EX-D4.01 | (External) | 0 | 0 | 0 | 0 | By others
EX-D4.02 | (External) | 0 | 0 | 0 | 0 | By others
D5.01 | E1 | 0 | 0 | 0 | 0 | By others
D5.02 | E1 | 0 | 0 | 0 | 0 | By others
D5.03 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.04 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.05 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.06 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.07 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.08 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.09 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.10 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.11 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.12 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.13 | A7 | 0 | 1 | 3332.91 | 3332.91
D5.14 | H | 0 | 1 | 769.31 | 769.31
D5.15 | A8 | 0 | 1 | 2443.42 | 2443.42
D5.16 | A7 | 0 | 1 | 2769.49 | 2769.49
D5.17 | A7 | 0 | 1 | 2810.52 | 2810.52
D5.18 | G | 0 | 1 | 694.14 | 694.14
D5.19 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.20 | A7 | 0 | 1 | 2218.28 | 2218.28
D5.21 | A4 | 0 | 1 | 1896.76 | 1896.76
D5.22 | A4 | 0 | 1 | 1896.76 | 1896.76
D5.23 | A7 | 0 | 1 | 2347.51 | 2347.51
D5.24 | D2 | 0 | 1 | 1071.93 | 1071.93
D5.25 | D2 | 0 | 1 | 1121.89 | 1121.89
D5.26 | A7 | 0 | 1 | 2769.49 | 2769.49
D5.27 | G | 0 | 1 | 694.14 | 694.14
D5.28 | H | 0 | 1 | 769.31 | 769.31
D5.29 | A7 | 0 | 1 | 2769.49 | 2769.49
D5WC.01 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.02 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.03 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.04 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.05 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.06 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.07 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.08 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.09 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.10 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.11 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.12 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.13 | 0 | 0 | 0 | 0 | 0 | WC cubicle
D5WC.14 | 0 | 0 | 0 | 0 | 0 | WC cubicle
EX-D5.01 | (External) | 0 | 0 | 0 | 0 | By others
EX-D5.02 | (External) | 0 | 0 | 0 | 0 | By others
EX-D5.03 | (External) | 0 | 0 | 0 | 0 | By others
EX-D5.04 | (External) | 0 | 0 | 0 | 0 | By others
EX-D5.05 | (External) | 0 | 0 | 0 | 0 | By others
EX-D5.06 | (External) | 0 | 0 | 0 | 0 | By others
EX-D6.01 | (External) | 0 | 0 | 0 | 0 | By others
EX-D6.02 | (External) | 0 | 0 | 0 | 0 | By others
EX-D6.03 | (External) | 0 | 0 | 0 | 0 | By others
EX-D6.04 | (External) | 0 | 0 | 0 | 0 | By others
EX-D6.05 | (External) | 0 | 0 | 0 | 0 | By others
EX-D6.06 | (External) | 0 | 0 | 0 | 0 | By others
351452.85