## Comparison
Contract No: HLN.0280
Contract Title: 25 CANNON STREET
Work Package: WP15 Carpentry & Joinery
|  | Description | Quant | Rate | Total | Comment
1 |  | Design
| 1 | Allowance for Sub-Contractor Design |  |  | Included
| 2 | Allowance for Design Development |  |  | Included
2 |  | Insurances and Warranties & Bonds
| 1 | Insurance Premium |  |  | Included
| 2 | Warranties - as detailed within specification |  |  | Subject to wording
| 3 | Bonds - Allowance for 10% Performance Bond subject to wording |  |  | Excluded
3 |  | Preliminaries [breakdown required]
Pre-Construction Services / Meetings / Interface / Design advice / Co-Ordination
|  | Project Manager |  |  | 50890
|  | Site Foreman |  |  | 56810
Logistics Manager
Visiting Contracts Manager
Visiting Surveyor
|  | Site Subsistence (office stationary / communication) |  |  | 5750
|  | Health & Safety |  |  | 5750
|  | Offloading and distribution (vertical distribution via BAM hoist / beneficial use lift) |  |  | 23000
|  | Plant, tools & transport |  |  | 11500
Operations Support
Labourers
Access scaffold (up to 3.5m only)
Provision, maintenance and removal of all necessary access equipment
Temporary barriers, pedestrian segregation and safety rails
Survey of preceding works
|  | Protection of works during installation (pre finished works only) |  |  | Included
Protection of works maintenance post installation to practical completion (protected until handover only)
Removal of rubbish to designated holding area
Edge protection
Progressive cleaning
|  | Final clean |  |  | Included
As built surveys of sub contract works
Setting out (from main contractor datum's)
Production of working drawings
Production of record drawings and O&M's electronic and hardcopy
Offsite visits for inspection, including members of design team - prov sum, requirements to be confirmed
|  | Return visits and out of sequence works - 3 weeks allowance for ground floor window cills North Elevation |  |  | Included
Fieldview Snagging Software
4 |  | Measured Works
CORE WALL - WOOD VENEERED PANEL LINING OPTION 1 [WF-01]: Refer to Specification K13/121 & BGY CO Series drawings
Timber veneer panelling fixed to plasterboard partition substrate (by others), wood species to be American Walnut, fire retardant impregnation treatment to achieve class 0 rating.
Basement
Male Changing Room - Refer to drawings BGY EOT_01-04
| 1 | Veneer panelling to walls: WF-01; Refer to dwg BGY EOT_02 detail 1 | 6 | 494.01 | 2964.06
| 2 | Timber Veneer back panel to WC cubicles with removable section; Refer to dwg WC_41 for details | 2 | 1263.3 | 2526.6
Female Changing Room - Refer to drawing BGY EOT_11-14
| 3 | Veneer panelling to walls: WF-01; Refer to dwg BGY EOT_13 detail 2. | 8 | 494.01 | 3952.08
| 4 | Timber Veneer back panel to WC cubicles with removable section; Refer to dwg WC_41 for details | 2 | 1263.3 | 2526.6
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
| 5 | Timber Veneer back panel to WC cubicles with removable section; Refer to dwg WC_41 for details | 1 | 1909.4 | 1909.4
| 6 | Veneer panelling to walls: WF-01; Refer to dwg WC_11 detail 4 | 1 | 672.51 | 672.51
Female WC - Refer to drawing BGY WC_10 & WC_12
| 7 | Timber Veneer back panel to WC cubicles with removable section; Refer to dwg WC_41 for details | 1 | 3818.81 | 3818.81
Accessible Toilet - Refer to drawing BGY WC_10 & WC_13
| 8 | Timber veneer back panel: WF-01; Refer to dwg WC_13 detail 5 | 1 | 1277.13 | 1277.13
| 9 | Veneer panelling to boxing out; Refer to dwg WC_13 detail 3 | 1 | 638.57 | 638.57
Reception WC - Refer to drawing BGY RE_38
| 10 | Timber veneer back panel to AWC; refer to dwg RE_38 detail 8 | 1 | 1363.86 | 1363.86
| 11 | Timber veneer panel to boxing out; Refer to dwg RE_38 detail 9 | 1 | 716.49 | 716.49
| 12 | Timber veneer back panel to WC; Refer to dwg RE_38 detail 2 | 1 | 1112.45 | 1112.45
| 13 | Timber veneer panel to boxing out; Refer to dwg RE_38 detail 3 | 1 | 779.35 | 779.35
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
| 14 | Veneer panelling to walls: Refer to dwg WC_02 detail 4 |  |  | Included
| 15 | Timber Veneer panelling back panels to cubicles with removable section (20nr) Refer to dwg WC_41 for details | 5 | 4438.52 | 22192.6
Female WC - Refer to BGY drawings WC_03 & WC_04
| 16 | Timber veneer back panel to cubicles with removable sections (45nr). Refer to dwg WC_41 for details | 5 | 7988.32 | 39941.6
Accessible Toilet - Refer to BGY drawing WC_05
| 17 | Veneer panelling to wall behind toilet; Refer to dwg WC_05 detail 4 | 5 | 1277.13 | 6385.65
| 18 | Veneer panelling to boxing out; Refer to dwg WC_05 detail 6 | 5 | 638.57 | 3192.85
BACK-PAINTED GLASS - MALE WC's [WF-02]: Refer to Specification L40/557 & BGY WC Series Drawings
Back painted toughened glass to male WCs urinal area, thickness 6mm, standard colour - RAL number TBC, Glass panel bonded to ply on split timber battens. Refer to drawing WC_40 for detail.
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
| 19 | Back painted glass to walls: WF-02; circa 1000mm x 1060mm, including cut out for urinal | 2 | 1055.89 | 2111.78
| 20 | Split timber batten |  |  | Included
| 21 | Solid timber batten to match species and finish of timber panelling K13/121 or 122; typically as dwg WC_40 detail 4 |  |  | Included
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
| 22 | Back painted glass to walls: WF-02; circa 1000mm x 1060mm, including cut out for urinal | 30 | 699.32 | 20979.6
| 23 | Split timber battens |  |  | Included
| 24 | Solid timber batten to match species and finish of timber panelling K13/121 or 122; typically as dwg WC_40 detail 4 |  |  | Included
FLUTED TIMBER PANELS TO URINAL WALLS to 10mm ply back [LF-50]
Ground Male WC - Refer to drawing BGY WC_10 & WC_11
| 25 | Veneer panelling to urinal walls: WF-01; Refer to dwg WC_11 detail 4 & 5 | 2 | 2044.77 | 4089.54
| 26 | Solid timber end panel as per dwg WC_40 |  |  | Included
Typical Floor (floor 1-5) Male WC - Refer to BGY drawings WC_01 & WC_02
| 27 | Veneer panelling to urinal walls: WF-01; Refer to dwg WC_02 details 1 & 4 | 30 | 1550.57 | 46517.1
| 28 | Solid timber end panel as per dwg WC_40 |  |  | Included
WC CUBICLE SYSTEM - ALL FLOORS [FF-18]: Refer to Specification K32/110 & BGY WC Series drawings
Shadbolt Veneered Cubicle System, Finish to door and pilasters (both sides) and internal back panel to be timber veneer to match specification K13/121. Internal divider partitions (both sides) to be Formica or similar high-pressure laminate in F1040 Alpino white - core to be solid high density three-ply chipboard with 7mm think lippings in near-matching hardwood.
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
| 29 | Timber veneer Cubicle partition system - Doors: undercut 10mm for ventilation | 2 | 4092.21 | 8184.42
| 30 | Timber veneer end pilasters and top panel system |  |  | Included
| 31 | Formica or similar to cubicle sides internal divider partition |  |  | Included
| 32 | E.O. for concealed edge lippings of minimum 7mm thickness to match |  |  | Included
Female WC - Refer to drawing BGY WC_10 & WC_12
| 33 | Timber veneer Cubicle partition system - Doors: undercut 10mm for ventilation | 4 | 3647.23 | 14588.92
| 34 | Timber veneer end pilasters and top panel system |  |  | Included
| 35 | Formica or similar to cubicle sides internal divider partition |  |  | Included
| 36 | E.O. for concealed edge lippings of minimum 7mm thickness to match |  |  | Included
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
| 37 | Timber veneer Cubicle partition system - Doors: undercut 10mm for ventilation | 25 | 3685.06 | 92126.5
| 38 | Timber veneer end pilasters and top panel system |  |  | Included
| 39 | Formica or similar to cubicle sides internal divider partition |  |  | Included
| 40 | E.O. for concealed edge lippings of minimum 7mm thickness to match |  |  | Included
Female WC - Refer to BGY drawings WC_03 & WC_04
| 41 | Timber veneer Cubicle partition system - Doors: undercut 10mm for ventilation | 45 | 3629.15 | 163311.75
| 42 | Timber veneer end pilasters and top panel system |  |  | Included
| 43 | Formica or similar to cubicle sides internal divider partition |  |  | Included
| 44 | E.O. for concealed edge lippings of minimum 7mm thickness to match |  |  | Included
SHOWER CUBICLES - BASEMENT [FF-18]: Refer to Specification K32/115 & BGY EOT series drawings
Timber veneered panelling to shower rooms to match specification K13/121. Shower door to have timber veneered finish to match K13/121, refer to BGY drawing DD_13. Shower room includes a free standing timber bench. Glazed door and fixed glazed screen on upstand to shower cubicle. Anti -slip stone resin shower tray.
Male Changing Rooms - Refer to drawing BGY EOT_01-04
| 45 | Shower cubicle partition system doors; timber veneer finish as dwg DD_13 | 12 | 2395.35 | 28744.2
Female Changing Rooms - Refer to drawing BGY EOT_11-14
| 46 | Shower cubicle partition system doors; timber veneer finish as dwg DD_13 | 11 | 2397.94 | 26377.34
WC'S - BESPOKE MIRROR UNIT [FF-15]: Refer to Specification N10/136 & BGY WC & EOT Series drawings for dimensions and BGY WC_20 for details
Bespoke mirror unit with exposed mild steel section to office WC's and EOT facilities. To include clear mirror sheets and mirror-backed fluted glass sheets. LED strip lighting to bottom of unit. Linear vertical light fitting with metal shade in Rimex Bronze Stain Stainless finish as per specification K13:109. Refer to drawing WC_20 for details.
Basement EOT area
Male Changing Rooms - Refer to drawing BGY EOT_0104
| 47 | Bespoke mirror unit FF-15 circa 4150 x 1050mm; Refer to dwg EOT_04 detail 1 & 2 | 2 | 11804.82 | 23609.64
| 48 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | 586.55 | 586.55
Female Changing Rooms - Refer to drawing BGY EOT_11-14
| 49 | Bespoke mirror unit FF-15 circa 2600 x 1050mm; Refer to dwg EOT_12&13 | 2 | 8177.94 | 16355.88
| 50 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | 391.03 | 391.03
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
| 51 | Bespoke mirror unit FF-15. circa 1590mm x 1075mm; Refer to dwg WC_11 detail 4 | 1 | 6096.19 | 6096.19
| 52 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | 195.52 | 195.52
Female WC - Refer to drawing BGY WC_10 & WC_12
| 53 | Bespoke mirror unit FF-15. circa 2960mm x 1075mm; Refer to dwg 12 detail 2 | 1 | 10098.88 | 10098.88
| 54 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | 293.27 | 293.27
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
| 55 | Bespoke mirror unit FF-15. circa 4330mm x 1070mm; Refer to dwg 02 detail 1 | 5 | 13709.94 | 68549.7
| 56 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | 1955.16 | 1955.16
Female WC - Refer to BGY drawings WC_03 & WC_04
| 57 | Bespoke mirror unit FF-15. circa 5700mm x 1075mm; Refer to dwg WC_04 detail 1 | 5 | 17496.03 | 87480.15
| 58 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. | 1 | 2443.95 | 2443.95
| 59 | Bespoke mirror unit FF-15. circa 796mm x 1120mm; Refer to dwg WC_04 detail 2 | 5 | 1526.73 | 7633.65
| 60 | E/O for fluted glass with mirror backing, laminated panels comprising 6mm PSLI (low iron) glass and 2mm mirror, single glazed. Refer to drawing WC_20 for details, item 11. |  | N/A | Excluded
WC'S - CONCRETE SINK UNIT, OFFICE WC'S [SA-11]. Refer to Specification N10/141 & BGY drawing WC_30
Bespoke pre-cast concrete wash-hand basins with liner slot drains. Unit to include integrated bin units and splashbacks, polished finish. Units to be fully supported via sub-carcass or with gallow-type brackets.
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
| 61 | Bespoke sink unit SA-11. circa 1590mm x 500mm x 400mm | 1 | 7568.82 | 7568.82
| 62 | Bespoke sink unit SA-11. circa 796mm x 500mm x 400mm | 1 | 5019.56 | 5019.56
| 63 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 3 | 285.85 | 857.55
| 64 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 3 | 486.47 | 1459.41
| 65 | Integrated waste bin into sink unit | 3 | 209.48 | 628.44 | Assumed specification
Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] Dolphin BCL632FS-2-MF-PC
Female WC - Refer to drawing BGY WC_10 & WC_12
| 66 | Bespoke sink unit SA-11. circa 2960mm x 500mm x 400mm | 1 | 10919.73 | 10919.73
| 67 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 3 | 263.22 | 789.66
| 68 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 4 | 515.52 | 2062.08
| 69 | Integrated waste bin into sink unit | 3 | 209.48 | 628.44 | Assumed specification
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
| 70 | Bespoke sink unit SA-11 circa 4330mm x 500mm x 400mm (5nr Floors) | 5 | 13057.33 | 65286.65
| 71 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 20 | 263.22 | 5264.4
| 72 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 30 | 515.52 | 15465.6
| 73 | Integrated waste bin into sink unit | 20 | 209.48 | 4189.6 | Assumed specification
Female WC - Refer to BGY drawings WC_03 & WC_04
| 74 | Bespoke sink unit SA-11. circa 5700mm x 500mm x 400mm (5nr Floors) | 5 | 17895.27 | 89476.35
| 75 | Bespoke sink unit SA-11 to accessible area. circa 796mm x 500mm x 400mm | 5 | 5119.27 | 25596.35
| 76 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 30 | 263.22 | 7896.6
| 77 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 45 | 520.92 | 23441.4
| 78 | Integrated waste bin into sink unit | 30 | 209.48 | 6284.4 | Assumed specification
Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] Dolphin BCL632FS-2-MF-PC
WC'S - BELOW SINK UNIT, TIMBER VENEER [FF-16]: Refer to Specification N10/143 & BGY EOT & WC_Series drawing and WC_30 for typical detail.
Timber veneer below sink unit to match clause K13/121 American Walnut. Thick solid lipping to edging to match veneer. Unit to accommodate soap storage/ reservoir serving tap dispenser and incorporate drawers with push-to-open mechanisms
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
| 79 | Below sink unit FF-16. circa 1590mm x 500mm x 400mm | 1 | 3262.87 | 3262.87
| 80 | Below sink unit FF-16. circa 796mm x 500mm x 400mm | 1 | 1875.06 | 1875.06
Female WC - Refer to drawing BGY WC_10 & WC_12
| 81 | Below sink unit FF-16. circa 2960mm x 500mm x 400mm | 1 | 5344.15 | 5344.15
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
| 82 | Below sink unit FF-16 circa 4330mm x 500mm x 400mm (5nr floors) | 5 | 7638.02 | 38190.1
Female WC - Refer to BGY drawings WC_03 & WC_04
| 83 | Below sink unit FF-16. circa 5700mm x 500mm x 400mm (5nr Floors) | 5 | 9817.21 | 49086.05
| 84 | Below sink unit FF-16 to accessible area. circa 796mm x 500mm x 400mm (5nr floors) | 5 | 1875.06 | 9375.3
WC'S - BESPOKE PRIVACY SCREEN BETWEEN URINALS [FF-14]. Refer to Specification N10/144 and BGY drawing WC_02
Profiled timber sub frame wrapped in metal sheeting witch bronze finish to match specification K13/109
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
| 85 | Divider units between urinals: FF-14, circa 260mm x 840mm | 20 | 1082.9 | 21658
GLASS MIRRORS - ALL FLOORS [FF-17 & FF-19]. Refer to Specification L40/555 & BGY WC_Series drawings
Float glass, silvered to give maximum reflection, 6mm thick, aluminium foil backing, polished arris edge treatment
Basement EOT Area
| 86 | Wall surface mirror to EOT WC cubicles and accessible shower, circa 480mm x 1600mm. Refer to drawing EOT_50 & 90 for details | 5 | 1144.27 | 5721.35
| 87 | 2nr Feature mirror to wall including allowance for framing (FF-17) | 1 | 944.76 | 944.76
Ground Floor
Male WC - Refer to drawing BGY WC_10 & WC_11
| 88 | Wall Surface Mirror FF-19 circa. 796mm x 1120mm | 1 | 1117.48 | 1117.48
| 89 | Mirror to west wall, circa 790mm x 2550mm | 1 | 272.67 | 272.67
Accessible Toilet - Refer to drawing BGY WC_10 & WC_13
| 90 | Wall Surface Mirror FF-19 circa. 500mm x 1630mm | 1 | 1206.37 | 1206.37
| 91 | Mirror to south wall, circa 790mm x 2550mm | 1 | 272.67 | 272.67
Reception WC - Refer to drawing BGY RE_38
| 91 | Wall Surface Mirror FF-19 circa. 500mm x 1560mm | 1 | 108.92 | 108.92
| 93 | AWC Wall Surface Mirror FF-19 circa. 500mm x 1560mm | 1 | 108.92 | 108.92
Typical Floors: 1st Floor - 5th Floor
Male WC - Refer to BGY drawings WC_01 & WC_02
| 94 | Mirror to east wall, circa 1210mm x 2500mm | 5 | 403.77 | 2018.85
Female WC - Refer to BGY drawings WC_03 & WC_04
| 95 | Mirror to west wall, circa 790mm x 2420mm | 5 | 258.95 | 1294.75
Accessible Toilet - Refer to BGY drawing WC_05
| 96 | Wall Surface Mirror FF-19 circa. 500mm x 1630mm | 5 | 257.69 | 1288.45
MIRROR WITH INTEGRATED TV & CLOCK [FF-31]. Refer to Specification N10 & BGY EOT_Series drawings.
Basement - Male Changing Rooms
| 97 | Mirror with integrated TV & clock. Refer to dwg EOT_03 detail 2 | 1 | 896.39 | 896.39 | TV & Clock by Others
Basement - Female Changing Rooms
| 98 | TV and clock to be integrated into timber wall panelling; Refer to dwg EOT_13 detail 2 | 1 | 852.29 | 852.29 | TV & Clock by Others
EOT AREA - LOCKERS [FF-32]. Refer to Specification N10/158 & BGY EOT_Series drawings & BGY_80
Maxwood Oracle Z lockers with integrated bench, size 1500 x 302mm, electronic lock mechanism, engraved laminated plastic number disc, moulded coat hook to each compartment, aluminium extended anti-finger hinge. Locker doors to be 10mm solid grade laminate, with radiused, polished and rounded corners. Locker shelves to be high strength polymer with incorporated ventilation holes.
| 99 | Double stacked lockers to male and female changing rooms - Refer to drawing BGY EOT_01-04 & , 11-1. Refer to EOT_80 for details. | 230 | 513.36 | 118072.8
| 100 | Solid timber bench, stained to match specification K13:121 supported by mild steel integral bench and locker frame concealed by plasterboard | 26 | 823.15 | 21401.9
|  | Solid timber bench, stained to match specification K13:121 supported by mild steel integral bench around column in male change | 1 | 2269.76 | 2269.76
|  | Solid timber benchs, stained to match specification K13:121 supported by mild steel integral bench projecting out from benches measured in item 100 above in female change | 1 | 2633.56 | 2633.56
EOT AREA - BUILT-IN SHELVES & CUPBOARD UNIT [FF-21]. Refer to Specification N10/146 & BGY EOT_Series drawings
Clean towel storage station with dirty towel bins integrated into base of unit. Solid timber/ oak with colour wash bench top. Timber/ oak veneer door fronts with colour wash. To include bronze detailing to integrated door signage
| 101 | Male Changing Rooms - Refer to drawing BGY EOT_01-04 & EOT_40 | 1 | 19040.72 | 19040.72
| 102 | Female Changing Rooms - Refer to drawing BGY EOT_01-04 & EOT_40 | 1 | 24475.55 | 24475.55
EOT AREA - HAIRDRYER & STRAIGHTENERS UNIT [FF-22]. Refer to Specification N10/147 & BGY EOT_Series drawings
Pre-cast concrete unit to hold hairdryers & straighteners, units to be fully supported either via sub-carcass or through the use of gallow-type brackets
Male Changing Rooms - Refer to drawing BGY EOT_01, 02 & 03
| 103 | Hair drying/ straighteners unit FF-22. circa 4150mm x 500mm x 400mm | 1 | 9541.9 | 9541.9
Female Changing Rooms - Refer to drawing BGY EOT_11, 12 & 13
| 104 | Hair drying/ straighteners unit FF-22 circa 2600mm x 500mm x 400mm | 1 | 9347.07 | 9347.07
EOT AREA - IRONING BOARD LOCKER UNIT [FF-23]. Refer to Specification N10/148 & BGY EOT_Series drawings
Bespoke maxwood full-height locker with integrated fold-down ironing board unit. Finish to match locker in clause 158.
| 105 | Male Changing Rooms - Refer to drawing BGY EOT_01-04 | 1 | 1500.46 | 1500.46
| 106 | Female Changing Rooms - Refer to drawing BGY EOT_11-14 | 1 | 1500.46 | 1500.46
EOT AREA - RAIL FOR DRYING ROOM [FF-30]. Refer to Specification N10/159 & BGY EOT_Series drawings
| 107 | Heavy duty hanging clothes/ garment rail, finished in black | 1 | 343.82 | 343.82
EOT AREA - BENCH IN SHOWER ROOMS [FF-01]. Refer to Specification N10/162
| 108 | Timber veneer bench to match specification K13/121 or 122 | 23 | 754.88 | 17362.24
WC'S - CONCRETE SINK WORKTOP & SPLASHBACK, EOT AREA [SA-10]. Refer to Specification N10/140 & BGY EOT Series drawings
Bespoke concrete vanity unit with under mounted sinks, unit to include integrated bin units and splash backs. Units to be fully supported either via sub-carcass or through the use of gallow-type brackets
Basement EOT area
Male Changing Rooms - Refer to drawing BGY EOT_01, 02 & 03
| 109 | Bespoke sink unit SA-10. circa 4150mm x 500mm x 400mm | 4 | 3139.81 | 12559.24
| 110 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 3 | 240.6 | 721.8
| 111 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 4 | 470.26 | 1881.04
| 112 | Integrated waste bin into sink unit | 3 | 209.48 | 628.44 | Assumed specification
Female Changing Rooms - Refer to drawing BGY EOT_11, 12 & 13
| 113 | Bespoke sink unit SA-10. circa 2600mm x 500mm x 400mm | 3 | 3473.3 | 10419.9
| 114 | SA-33 Concealed Dolphin paper towel dispenser to all to toilets behind mirror | 2 | 240.6 | 481.2
| 115 | Dolphin panel mounted infra red soap dispenser, 980mm x 500mm, powered coated matt black [SA-32] | 3 | 486.47 | 1459.41
| 116 | Integrated waste bin into sink unit | 2 | 209.48 | 418.96 | Assumed specification
WC'S - BELOW SINK UNIT, TIMBER VENEER [FF-16]: Refer to Specification N10/143 & BGY EOT & WC_Series drawing and WC_30 for typical detail.
Timber veneer below sink unit to match clause K13/121 American Walnut. Thick solid lipping to edging to match veneer. Unit to accommodate soap storage/ reservoir serving tap dispenser and incorporate drawers with push-to-open mechanisms
Basement EOT area
Male Changing Rooms - Refer to drawing BGY EOT_01, 02 & 03
| 117 | Below sink unit FF-16. circa 4150mm x 500mm x 400mm | 1 | 5832.2 | 5832.2
Female Changing Rooms - Refer to drawing BGY EOT_11, 12 & 13
| 118 | Below sink unit FF-16. circa 2600mm x 500mm x 400mm | 1 | 4011.73 | 4011.73
Fixtures and Fitting: Refer to 1069_sA-01_Sanitary Schedule Revision T2 and BGY WC & EOT Series drawings.
| 119 | Waterfront wall mounted toilet brush to all WC's, finish black [SA-35] | 89 | 73.54 | 6545.06
| 120 | Waterfront double post mount single roll holder to all WC's, finish black [SA-34] | 89 | 55.01 | 4895.89
| 121 | Wall mounted spare roll holder to all WC's, finish black [SA-39] | 89 | 53.62 | 4772.18
| 122 | Matki one pivot for recess shower screen to basement changing rooms, size to match opening [SA-22] | 23 | 884.08 | 20333.84
| 123 | Lift support rail to accessible WC, Satin stainless steel double arm hinged disabled cantilever rail, size 760mm, refinished in RAL9005 black [SA-41] | 8 | 219.47 | 1755.76
| 124 | Satin stainless steel grab rail c/w, 2 laser cut 60 x 3mm diameter thrust roses. Supplied with raw plug fixing, size 600mm x 32mm, refinished in RAL9005 Black [SA-41] | 64 | 179.51 | 11488.64
| 125 | Satin stainless steel backrest c/w 2 laser cut 60 x 3mm diameter thrust roses. Supplied with raw plug fixing, size 400mm x 32mm, refinished in RAL9005 Black [SA-41] | 7 | 179.51 | 1256.57
| 126 | Robe hook to cubicles (SA-38) | 48 | 36.7 | 1761.6
`
| 127 | Robe hook to changing rooms to timber veneer wall panel(SA-38) | 7 | 36.7 | 256.9
| 128 | 3v FMB coat hook 45mm x 16mm dia to cubicles, refer to specification CT0819-01-I [SA-38] | 88 | 36.7 | 3229.6
| 129 | JT Fashion Rectangle shower tray. Concealed waste, Tray with upstand; 1100W x 800D [SA-21] | 23 |  | By others
Doors
|  | Supply and install timber doors, including ironmongery as per the following breakdown. | 1 | 351452.85 | 351452.85
|  | Ironmongery | 1 | 145712.93 | 145712.93
Internal Doors, Timber Doors, Veneer Finish as per specification K13/121 or 122 to both sides. TS Reference: DRS-A1, A2, A3, A4, A7 & A8. Refer to Specification L20/205 & type 'A' doors as per BGY drawings DD_01, 02 & 03. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
Basement
| 130 | DRS-A1: Timber veneer finish door and ironmongery with pull handles and push plates. size 910mm x 2300mm. Refer to BGY DD_01. |  |  | Included
| 131 | DRS-A1: Timber veneer finish door and ironmongery with pull handles and push plates. 44mm solid core for FD30/FD30s size 910mm x 2300mm. Refer to BGY DD_01. |  |  | Included
| 132 | DRS-A1: Timber veneer finish door and ironmongery with pull handles and push plates. 54mm solid core for FD60/FD60s size 910mm x 2300mm. Refer to BGY DD_01. |  |  | Included
| 133 | DRS-A2: Timber veneer finish double door and ironmongery with pull handles and push plates. size 1820mm x 2300mm. Refer to BGY DD_01. |  |  | Included
| 134 | DRS-A2: Timber veneer finish double door and ironmongery with pull handles and push plates. 44mm solid core for FD30/FD30s. size 1820mm x 2300mm. Refer to BGY DD_01. |  |  | Included
| 135 | DRS-A2: Timber veneer finish double door and ironmongery with pull handles and push plates. 54mm solid core for FD60/FD60s. size 1820mm x 2300mm. Refer to BGY DD_01. |  |  | Included
| 136 | DRS-A3: Timber veneer finish door and ironmongery with lever handles PPC black finish. size 910mm x 2300mm. Refer to BGY DD_02. |  |  | Included
| 137 | DRS-A3: Timber veneer finish door and ironmongery with lever handles PPC black finish. size 910mm x 2300mm. 44mm solid core for FD30/FD30s. Refer to BGY DD_02. |  |  | Included
| 138 | DRS-A3: Timber veneer finish door and ironmongery with lever handles PPC black finish. size 910mm x 2300mm. 54mm solid core for FD60/FD60s. Refer to BGY DD_02. |  |  | Included
| 139 | DRS-A4: Timber veneer Cleaner cupboard double door and ironmongery, lever handles PPC black finish. 44mm solid core doors for FD30/FD30s, size 2200mm x 2300mm. Refer to BGY DD_02. |  |  | Included
| 140 | DRS-A5: Timber veneer Disabled WC door and ironmongery, lever handles PPC black finish with pull handles and push plates. size 1110 x 2300mm. Refer to BGY DD_02. |  |  | Included
Ground Floor
| 141 | DRS-A1: Timber veneer finish door and ironmongery with pull handles and push plates. size 910mm x 2300mm. Refer to BGY DD_01. |  |  | Included
| 142 | DRS-A5: Timber veneer Disabled WC door and ironmongery, lever handles PPC black finish with pull handles and push plates. size 1110 x 2300mm. Refer to BGY DD_02. |  |  | Included
Typical Floor - Floor 1 to 5
| 143 | DRS-A7: Timber veneer Core door and ironmongery with over-panel, pull handle & push plate; size 1010mm x 2700mm. Refer to BGY DD_03. |  |  | Included
| 144 | DRS-A7: Timber veneer Core door and ironmongery with over-panel, pull handle & push plate. 44mm solid core door for FD30/FD30s, size 1010mm x 2700mm. Refer to BGY DD_03. |  |  | Included
| 145 | DRS-A7: Timber veneer Core door and ironmongery with over-panel, pull handle & push plate. 54mm solid core door for FD60/FD60s, size 1010mm x 2700mm. Refer to BGY DD_03. |  |  | Included
| 146 | DRS-A4: Timber veneer Cleaner cupboard double door and ironmongery, lever handles PPC black finish. 44mm solid core doors for FD30/FD30s, size 2200mm x 2300mm. Refer to BGY DD_02. |  |  | Included
| 147 | DRS-A8: Timber veneer Disabled WC door and ironmongery with over-panel, Lever handles Plc. black finish. 44mm core doors for FD30/FD30s, size 1110mm x 2700mm. Refer to BGY DD_03. |  |  | Included
TIMBER DOORS, PAINTED FINISH, - TS reference DRS-B1, B2 & B5. Refer to Specification L20/206 & type 'B' doors as per BGY drawings DD_04. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
Basement
| 148 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. Size 910mm x 2300mm. Refer to drawing DD_04 |  |  | Included
| 149 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. 44mm solid core doors for FD30/FD30s. Size 910mm x 2300mm. Refer to drawing DD_04 |  |  | Included
| 150 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. 54mm solid core doors for FD120/FD120s. Size 910mm x 2300mm. Refer to drawing DD_04 |  |  | Included
| 151 | DRS-B2: Timber double door and ironmongery painted finish with lever handle both sides of 1 no. door leaf with Satin SS finish. Vision panel if required. 44mm solid core doors for FD30/FD30s. Size 1610mm x 2300mm. Refer to drawing DD_04 |  |  | Included
| 152 | DRS-B2: Timber double door and ironmongery painted finish with lever handle both sides of 1 no. door leaf with Satin SS finish. Vision panel if required. 54mm solid core doors for FD120/FD120s. Size 1610mm x 2300mm. Refer to drawing DD_04 |  |  | Included
| 153 | DRS-B5: Timber double doors and ironmongery painted finish with pull handles & push plates satin SS finish, vision panel to both doors. Size 1610mm x 2300mm. Refer to drawing DD_05. |  |  | Included
| 154 | DRS-B5: Timber double doors and ironmongery painted finish with pull handles & push plates satin SS finish, vision panel to both doors. 44mm solid core doors for FD30/FD30s. Size 1610mm x 2300mm. Refer to drawing DD_05. |  |  | Included
| 155 | DRS-B5: Timber double doors and ironmongery painted finish with pull handles & push plates satin SS finish, vision panel to both doors. 54mm solid core doors for FD60/FD60s. Size 1610mm x 2300mm. Refer to drawing DD_05. |  |  | Included
Ground Floor
| 156 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. Size 910mm x 2300mm. Refer to drawing DD_04 |  |  | Included
| 157 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. 44mm solid core doors for FD30/FD30s. Size 910mm x 2300mm. Refer to drawing DD_04 |  |  | Included
| 158 | DRS-B1: Timber door and ironmongery painted finish with lever handles to both sides with Satin SS finish, Vison panel if required. 54mm solid core doors for FD60/FD60s. Size 910mm x 2300mm. Refer to drawing DD_04 |  |  | Included
| 159 | DRS-B5: Timber double doors and ironmongery painted finish with pull handles & push plates satin SS finish, vision panel to both doors. 54mm solid core doors for FD60/FD60s. Size 1610mm x 2300mm. Refer to drawing DD_05. |  |  | Included
SHOWER ROOM DOORS - TS ref DRS-F. Timber veneer finish to match K13/121 or 122. Refer to Specification L20/209 & type 'F' door as per BGY drawing DD_13. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
| 160 | DRS-G shower room door and ironmongery to cubicle, flush door leaf with timber veneer finish. 2 no coat hooks, WC indicator with leaver handle and shower room symbol bonded to door. Size 710mm x 2400mm. Refer to drawing DD_13 |  |  | Included
|  | DRY RISER CUPBOARD DOORS: Timber veneer as per specification K13/121 or 122 to both sides. TS ref: DRS-G. Refer to Specification L20/211 & type 'G' door to dry riser cupboard as per BGY drawing DD_14. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D |  |  | Included
| 161 | Timber veneer dry riser door with signage and lock. Size 520mm x 1015mm. Refer to drawing DD_14.
SMOKE EXTRACT DOORS: Timber veneer as per Specification K13/121 or 122 to both sides with Automatic opening vent. TS ref: DRS-H. Refer to Specification L20/212 & type 'H' door to smoke extract shaft as per BGY drawing DD_15. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
| 162 | Timber veneer smoke extract shaft door with signage. Size 520mm x 1200mm. Refer to drawing DD_15 |  |  | Included | Automatic opening vent exlcuded
GROUND FLOOR CORE DOORS: Reception lift lobby doors, metal cladding bonded to door with bronze Satin Stainless finish. TS ref: DRS-J. Refer to Specification L20/213 & type 'J' door as per BGY drawing DD_17. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
| 163 | Reception lift lobby door DG.02 with vison panel fire rated glass | 1 | 2233.95 | 2233.95 | bronze elements
| 164 | Reception lift lobby door DG.03 | 1 | 1392.08 | 1392.08 | bronze elements
CONCEALED DOOR IN RECEPTION: Profile plaster wall panel fixed to timber door, profile plaster over panel, bottom of door to be clad in granite tiles, 5mm thick bronze reveals to jambs and sides of door leaf, bronze plate door pull ironmongery, painted finish. Refer to specification L20/220 & BGY drawing RE_23. Including ironmongery to door as per specification 3v CT0819-01-J and schedule CT0819-01D
| 165 | Concealed reception door DG.42. Size 830mm x 2500mm | 1 | 6213.71 | 6213.71 | bronze elements
RECEPTION FITTING - FRAMED MIRROR ARTWORK [FF-12]. Refer to Specification N10/120 & BGY RE_Series drawings
| 166 | Framed mirror artwork to reception lobby wit 40x40mm bronze frame, refer to drawing RE_34 detail 5 | 1 | 12630.91 | 12630.91
TIMBER WALL CLADDING [RFS-18]. Refer to Specification K13/121 or122 BGY drawings RF_08, 24 & 25
| 167 | Timber cladding to stair 3 walls, wood veneered panel lining as per option 1, wood species to be American Walnut plywood or acceptable alternative, fire retardant impregnation treatment to achieve class 0 rating | 42 | 236.35 | 9926.7 | Kebony alternative
| 168 | E.O. for timber clad access hatch adjacent to platform lift overrun | 1 | 438.08 | 438.08
SKIRTING BOARDS - PAINTED TIMBER [SK-04] - Refer to Specification P20/195 & BGY ST_02, 03 & 04
| 169 | Hardwood timber skirting to new build stair all floors, to include mitred internal and external corner joints, 15mm thick. | 500 | 20.2 | 10100
| 170 | Flush skirting to café, painted to match wall colour, with 10mm shadow gap, refer to BGY drawing RE_13 & RE_14 | 50 | 20.2 | 1010 | 100mm high
| 171 | Timber skirting / kickboard under towel storage; Refer to dwg EOT_40 detail 1 & 2 |  |  | Included
SKIRTING BOARDS - MDF (B.O.H. Areas) [SK-01] - Refer to Specification P20/202 and BGY drawing WF_00
| 172 | MDF Skirting Boards to B.O.H. areas; 15mm thick; Refer to dwg WF_00 | 150 | 13.23 | 1984.5
Reception Bench Seating with removable upholstered cushion on a plywood substrate with steel framing for support as per BGY Architects N10 Specification. Refer to Drawing no. 1069_RE-21 [Option 1]
| 173 | Bench seating TS ref FF-05; circa 10m; Plywood substrate attached to steel frame support. Include for removable upholstered cushion fixed to bench with Velcro. Refer to drawing RE_21 detail 4 & 5. | 3 | 6795.15 | 20385.45
|  | E/O for polished Bohus Grey Granite stone to all seating, 20mm thick mitred joints |  |  | Excluded
WINDOW BOARDS - MDF - Refer to Specification P20/205
| 174 | P/board to soffit & side walls; painted timber cills; 15mm thick, depth to suit opening with 25mm projection, Refer to drawing WF_00 & FA_03 detail 2, FA_36 detail 2 & FA_37 detail 4 | 123 | 30.91 | 3801.93
RECEPTION FITTING - PLANTER BOXES [FF-09] - Refer to Specification N10/119 & BGY RE_Series drawings
| 175 | Metal planters with aged brass finish to reception |  |  | Included
| 176 | Metal planter with aged brass finish to café stair |  |  | Included
Divider Unit bespoke joinery item - Timber-clad carcass with 2 No. vertical uprights/ dividers. Profiled timber cladding to 4 sides of base with painted bronze top. Bronze skirting to base of timber cladding as per BGY Architects N10 Specification. Refer to Drawing no. 1069 RE_41 T1.
| 178 | Divider Unit TS ref FF-03 circa. 3830mm x 440mm x 630mm; Refer to dwg RE_41 | 1 | 17191.75 | 17191.75
High Table bespoke joinery item with steel frame supporting timber veneer table-top. Edge of table to include solid timber edge lipping, to match top, with pencil round edges. 6 No. Buster + Punch 2G UK plug sockets, with USB, smocked bronze finish and plastic back box. Steel table legs clad in patinated bronze sheet cladding. electrical junction box in floor as per BGY Architects N10 Specification. Refer to Drawing no. 1069_RE-42
| 179 | High table TS ref FF-04 circa 3500mm x 1800mm x 1050mm | 1 | 14783.04 | 14783.04
Reception Desk bespoke joinery item with Aged Brass finish. Forbo desktop linoleum, flush with brass finish worktop area. Timber framework and mild steel brackets fabricated from T sections. Oak veneer faced doors and shelves. Moving legs with integral motors as per BGY Architects N10 Specification. Refer to Drawing no. 1069-RE_40 T1.
| 180 | Reception Desk TS ref FF-02; Refer to dwg 40 for details | 1 | 45249.25 | 45249.25
Bespoke timber window ledge. Solid hardwood with mild steel frames as per BGY Architects Specification N10. Refer to BGY RE_37 drawings.
| 181 | Solid hardwood Window ledge seating with steel framing TS ref FF-06; Refer to dwg RE_37 for details [North] | 1 | 6002.26 | 6002.26
| 182 | Solid hardwood Window ledge seating with steel framing TS ref FF-06; Refer to dwg RE_37 for details [West] | 1 | 6002.26 | 6002.26
Counter/ Bar with patinated bronze finish to worktop. Profiled timber cladding with solid timber battens. Adjustable supports on internal face of carcass. Removable tubular metal legs. Integrated top plate; finish to match glazed screen frame. Adjustable timber veneer shelf with solid timber nosing's to bar. Carcass to be painted MDF as per BGY Architects N10 Specification. Refer to Drawings no. 1069_RE-43, 44 & 45.
| 183 | Counter Bar circa 6995mm x 700mm x 950mm TS ref FF-07 | 1 | 53573.9 | 53573.9
| 184 | Counter Preparation Worktop circa 6995mm x 700mm x 950mm TS ref FF-07 |  |  | Included
Granite Bench and Ledge to reception area. Refer to Drawing no. 1069_RE_01
| 185 | Granite bench circa 3400mm x 600mm; Refer to dwg RE_01 for location | 1 | 5869.51 | 5869.51
| 186 | Granite ledge approx. circa 10m; Refer to dwg RE_01 for location | 1 | 14905.76 | 14905.76
Additional Items
| 187 | Solid timber benchtop to accessible shower as per drawing EOT_90 | 1 | 575.02 | 575.02
| 188 | Allowance for fitting out cleaners cupboard | 1 | P sum | 15000.75
| 189 | Allowance for samples as per the specifications |  |  | Included
| 190 | Allowance for mock ups | 1 | 7228.6 | 7228.6
| 191 | Filtered water tap & chiller unit. Refer to dwg EOT_02 detail 1, EOT_12 detail 1 & EOT_14 detail 3 and EOT_40 for typical details | 2 | 3950.94 | 7901.88
Additional Items not in original scope
Supply and installation of Twentinox Mesh Curtain, including unistrut and drop rods
INTERNAL CLADDING, SUPPORT SYSTEM - RECEPTION [IW-40]. Refer to Specification K13/135 and BGY RE_Series Drawings
|  | Support system for internal cladding, reception wall panelling, include hand brackets and rails, fixed back to steel frame or concrete. | 1 |  |  | By others
|  | Additonal WF-01 Timber veneer wall panelling as per BGY drawing CO-31 | 16 | 494.01 | 7904.16
5 |  | Provisional Sums
6 |  | Fixed Price
| 1 | Allowance for fixed price for duration of main contract works |  |  | 80000
7 |  | Other Items
|  | Protection Strategy |  |  | 23000
|  | Door sets - Hang / remove / coffin storage / re-hang |  |  | 13611
|  | Panelling - In situ correx protection |  |  | Included
|  | Bespoke Joinery - in situ correx protection |  |  | Included
WC Cubicles - In situ correx protection
|  | Ply Jamb Protection |  |  | Included
|  | Ply Jamb Protection |  |  | Included
|  | Washroom Areas - Allowance for the Oberflex veneer (unfinished) tint to be confirmed. |  |  | Included
|  | Washroom Areas - Samples & Mock Ups as Schedule |  |  | 22391.25
Washroom Areas - Preliminaries
|  | Primed doors only remove ironmongery prior to decoration and reinstate once decorations are complete |  |  | 1095.3
8 |  | Overhead and profit
| 1 | Addition for overhead and profit; please note this sum will be used (pro-rata the final contract sum) as the addition to any variations for the sub-contractors OH&P |  |  | Included
2531890.75
Value Engineering
Saving
Oberflex Timber Veneer
|  | Change from Oberflex to an alternative high pressure laminate |  |  | 98610
Change from Oberflex to a standard American Walnut veneer
Doors and Ironmongery
|  | Changes ironmongery supplier from 3V to ironmongery innovation |  |  | 13770
|  | Change the Shadmaster door core to a Shadcore core |  |  | 34764
|  | Reduce Walnut frames from 44mm to 32mm |  |  | 12444
|  | Reduce hardwood frames from 44mm to 32mm |  |  | 622
Fixtures and Fitting
|  | Option for counter mounted soap dispencer in satin finish |  |  | 24640
Lockers and Benches
|  | Replace electronic lock with cam lock |  |  | 0 | Specified supplier did not allow for a electronic lock
Urinal Divider Units
|  | Laminated glass dividers with a bronze painted interlayer in lieu of a profiled timber sub frame wrapped in metal sheeting with grey finish |  |  | 10160
Storage / Towel Units
|  | Oak veneer internal shelves to be omitted and replaced with Oak MFC, solid timber bench omitted and replaced with oak effect laminate |  |  | 2489
|  | Total VE Saving |  |  | 197499
|  | Adjusted Total |  |  | 2334391.75