## WP7340
55-96 KNIGHTSBRIDGE
WP7340 - JOINERY
TENDER ANALYSIS
|  |  | Raphael | 27.02.18 (updated 27.03.18 by email) | JMS NOTES | RCL NOTES | JMS NOTES
| PQS Qty | Qty |  | Comments
Measured Works
N10 General Fixtures/Furnishings/Equipment
Benches & linked seats | Various |  |  | Budget cost based on banquette type seat veneered panels & leather seat & back 2M long. Can this be firmed up? | Need drawings
C-D) Storage and display units N10/135A | Various |  |  | Budget cost. Can this be firmed up? | Need spec
N11 Domestic Kitchen Fittings
H) Additional fridge as per Specification N12/120A and as confirmed by Chung Lo in email dated 6th September 2017 | N/A |  | Excluded | To be included |  | Is this included within your quote? | Priced Item 6728/40
I) Double Door Fridge Freezer. Manufacturer; Electrolux. Product Reference; RH14DFD2 HD Line Dual Temperature. Capacity; 1400 litres. | N/A |  | Excluded | To be included |  | Is this included within your quote? | Priced Item 6728/41
ADDITIONAL SCOPE
Group 4 silver birch corian worktop to showers & AWC |  |  |  | Included Y/N? | See item 6728/50
Group 4 silver birch corian worktop to drivers area |  |  |  | Included Y/N? | Inc in 6728/8
Group 4 silver birch corian worktop to tea point |  |  |  | Included Y/N? | Inc in 6728/10
Group 4 silver birch corian worktop to staff kitchenette |  |  |  | Included Y/N? | Inc in 6728/18
6 mm silver backed mirror 85mm x 1900mm to basement - 2 showers & AWC |  |  |  | Included Y/N? | Nothing pricesd this size see 2728/20-24 for BofQ ref for sizes priced
6 mm silver backed mirror 1400mm x 600mm to basement - 2 shower room |  |  |  | Included Y/N? | Nothing pricesd this size see 2728/20-24 for BofQ ref for sizes priced
6 mm silver backed mirror 1400 x 600mm to basement - 2 accessible shower room |  |  |  | Included Y/N? | Nothing pricesd this size see 2728/20-24 for BofQ ref for sizes priced
6 mm silver backed mirror 1400 x 600mm to basement - 2 accessible WC |  |  |  | Included Y/N? | Nothing pricesd this size see 2728/20-24 for BofQ ref for sizes priced
6 mm silver backed mirror 1400mm x 600mm to basement - 2 drivers area accessible shower room |  |  |  | Included Y/N? | Nothing pricesd this size see 2728/20-24 for BofQ ref for sizes priced
6 mm silver backed mirror 1400mm x 600mm to basement - 1 AWC & tea point accessible WC |  |  |  | Included Y/N? | Nothing pricesd this size see 2728/20-24 for BofQ ref for sizes priced
6 mm silver backed mirror 1400mm x 600mm to ground floor accessible WC |  |  |  | Included Y/N? | Nothing pricesd this size see 2728/20-24 for BofQ ref for sizes priced
6 mm silver backed mirror 1400mm x 600mm to ground floor WC |  |  |  | Included Y/N? | Nothing pricesd this size see 2728/20-24 for BofQ ref for sizes priced
6 mm silver backed mirror to first floor accessible WC |  |  |  | Included Y/N? | Nothing pricesd this size see 2728/20-24 for BofQ ref for sizes priced
6 mm silver backed mirror to second floor accessible WC |  |  |  | Included Y/N? | Nothing pricesd this size see 2728/20-24 for BofQ ref for sizes priced
Blanco Andano 500 stainless steel sink |  |  |  | Included Y/N? See sanitaryware schedule KNI_SC_74_01 | 1 Nr Inc in 6728/8 & 18
Franke maris 1502025 kitchen tap |  |  |  | Included Y/N? See sanitaryware schedule KNI_SC_74_01 | 1 Nr Inc in 6728/8 & 18
Bronze panelling to residential entrance hall & lobby west - see drawing KNI 22 310 rev G |  |  |  | Omitted in MSMR update? |  | Is this now omitted? | Omitted new items 71-75
Bronze panelling to residential entrance hall & lobby east - see drawing KNI 22 311 rev F |  |  |  | Omitted in MSMR update? |  | Is this now omitted? | Omitted new items 76 & 77
Bronze skirting to residential entrance hall & lobby west - see drawing KNI 22 310 rev G |  |  |  | Omitted in MSMR update? |  | Is this now omitted? | Omitted new item 6728/90
Bronze cladding to door frames and screens to residential entrance hall & lobby west - see drawing KNI 310 rev G |  |  |  | Omitted in MSMR update? |  | Is this now omitted? | Omitted
Bronze cladding to door frames and screens to residential entrance hall & lobby east - see drawing KNI 22 311 rev F.
90/10 filding metal formed to profile and clad face of door frame / architrave section |  |  |  | Omitted in MSMR update? |  | Is this now omitted? | Omitted
Office entrance hall cladding to bronze door screen assembly & 2nr double bronze glazed doorsets - see drawing KNI 22 312 rev F
90/10 gilding metal formed to profile and clad face of door frame / architrave section |  |  |  | Included Y/N? | Not priced | Please price unless it has been omitted | More details required to price if required
Item 23 - bronze projecting cornice with integrated lighting detail |  |  |  | Included Y/N? | Not priced | Please price unless it has been omitted | More details required to price if required
Office lift lobbies - levels +1 & +2; bronze cladding to fascia assemblies - See drawing KNI 22 322 rev B
6500 x 500 bronze fascia panel |  |  |  | Included Y/N? | Not priced | Please price unless it has been omitted | Omitted I think
Sundry WC items
Back painted glass wall panels installed within WC's & AWC's on Level +1 (refer to specification M40/106) |  |  |  | Included Y/N? | Not priced | Please price unless it has been omitted | More details required to price
Back painted glass wall panels installed within WC's & AWC's on Level +2 (refer to specification M40/106) |  |  |  | Included Y/N? | Not priced | Please price unless it has been omitted | More details required to price
0